## Recorder Sites
Gauging # | Site | Instrument | Serial No. | Date | Stage (mm) | Flow (l/s) | QREV (ADCP Only) | Card scanned? | M:\ | Hilltop | Uncertainty (2007 ISO) | % Diff | NCC Gauging | Comments
622001 | HY Waimea at TDC Nursery | Flowtracker | FT2H1918008 | 2022-01-07 | 1453 | 4125 |  |  | Y | Y | 5 | -8.1 |  | MAKE SURE THE FILE HAS NO ACTIVE FILTERS OR COLUMN SORTS BEFORE USING
622002 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-01-07 | 1733 | 818 |  |  | y | y | 6.2 | 6.6
622003 | HY Lee at Meads Br | Flowtracker | FT2H1918008 | 2022-01-07 | 2535 | 1145 |  |  | Y | Y | 5.9 | 11.9
622004 | HY Maitai at Avon Tce | Flowtracker | FT2H1902009 | 2022-01-06 | 1242 | 708 |  |  | Y | Y | 6.8 | -6.9 | NCC | NCC Gauging
622005 | HY Brook at Seymour Ave | Flowtracker | FT2H1902009 | 2022-01-06 | 153 | 111 |  |  | Y | Y | 5.7 | -8.4 | NCC | NCC Gauging
622006 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-01-07 | 3179 | 722 |  |  | Y | Y | 6.1 | -11.4 | NCC | NCC Gauging
622007 | HY Motueka at Gorge | Flowtracker | FT2H1918008 | 2022-01-11 | 608 | 2173 |  |  | Y | Y | 6.1 | -18.7
622008 | HY Motupiko at Christies | Flowtracker | FT2H1918008 | 2022-01-11 | 1542 | 522 |  |  | Y | Y | 6.2 | 54
622009 | HY Wai-iti at Belgrove | Flowtracker | FT2H1918008 | 2022-01-12 | 365 | 276 |  |  | Y | Y | 6.1 | 25.1
622010 | HY Baton at Baton Flats | Flowtracker | FT2H1949009 | 2022-01-12 | 479 | 2524 |  |  | Y | Y | 6.4 | -17.7
622011 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-01-12 | 1237 | 6787 | 6867 |  | Y | Y | 8.6 | -7 |  | QREV used to Calculate final flow
622012 | HY Tadmor at Mudstone | Flowtracker | FT2H1949009 | 2022-01-12 | 958 | 333 |  |  | Y | Y | 6.2 | -13.2
622013 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1918008 | 2022-01-14 | 1249 | 749 |  |  | Y | Y | 5.4 | -20.8
622014 | HY Riwaka Nth at Littles | Flowtracker | FT2H1918008 | 2022-01-14 | 1642 | 481 |  |  | Y | Y | 6.1 | 7.7
622015 | HY Riwaka at Hickmotts | Flowtracker | FT2H1918008 | 2022-01-14 | 1013 | 1433 |  |  | Y | Y | 5.7 | -7.6
622016 | HY Waimea at TDC Nursery | Flowtracker | FT2H1918008 | 2022-01-17 | 1382 | 2410 |  |  | Y | Y | 5.5 | -6.6
622017 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-01-17 | 1663 | 382 |  |  | Y | Y | 6.2 | 8.8
622018 | HY Lee at Meads Br | Flowtracker | FT2H1949009 | 2022-01-17 | 2484 | 815 |  |  | y | y | 6.3 | 3.7
622019 | HY Roding at Peninsula | Flowtracker | FT2H1949009 | 2022-01-17 | 650 | 519 |  |  | y | y | 5.7 | 10
622020 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1949009 | 2022-01-17 | 1315 | 1847 |  |  | y | y | 6 | -0.4
622021 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-01-18 | 1515 | 390 |  |  | Y | y | 6.4 | -0.7
622022 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H2117022 | 2022-01-06 | 864 | 143 |  |  | Y | Y | 5.9 | -2.1 | NCC | NCC gauging
622023 | HY Maitai Sth at Old Intake | Flowtracker | FT2H2117022 | 2022-01-06 | 1142 | 272 |  |  | Y | Y | 6.4 | -7.4 | NCC | NCC gauging
622024 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1752001 | 2022-01-18 | 118 | 244 |  |  | Y | Y | 7 | 5.9
622025 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1752001 | 2022-01-18 | 469 | 2871 |  |  | Y | Y | 6.4 | 15.8
622026 | HY Lee Dam Upstream | Flowtracker | FT2H1949009 | 2022-01-19 | 800 | 545 |  |  | Y | Y | 6.5
622027 | HY Lee at u-s Anslow Ck | Flowtracker | FT2H1949009 | 2022-01-19 | 7767 | 715 |  |  | Y | Y | 6.3 |  |  | This is a composite of Lee D/S Anslow (742) minus anslow (27)
622028 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-01-19 | 257 | 241 |  |  | Y | Y | 6 | 0.4
622029 | HY Matakitaki at Horse Tce Br | M9 | M9 1664 | 2022-01-19 | 462 | 16376 | 15521 |  | Y | Y | 19.6 | 40.6 |  | High uncertainty, nothing obvious on the day other than going into shallow water for edges.
622030 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-01-19 | 260 | 4634 | 4730 |  | Y | Y | 6.3 | -8.3 |  | QREV used to Calculate final flow
622031 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-01-19 | 269 | 10785 |  |  | Y | Y | 5.9 | 3.7 |  | SxS
622032 | HY Anatoki at Happy Sams | Flowtracker | FT2H1918008 | 2022-01-19 | 331 | 2505 |  |  | Y | Y | 6.2 | 5.7
622033 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-01-19 | 1081 | 4536 | 4598 |  | Y | y | 6.4 | 18.8 |  | QREV used to Calculate final flow
622034 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-01-20 | 1177 | 12510 | 12247 |  | Y | Y | 12.7 | 1.4 |  | QREV used to Calculate final flow
622035 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-01-20 | 738 | 5156 | 5286 |  | Y | y | 4.9 | 7.9 |  | QREV used to Calculate final flow
622036 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-01-19 | 3157 | 530 |  |  | Y | Y | 6.3 | -8.4 | NCC | NCC Gauging
622037 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1918008 | 2022-01-21 | 1230 | 564 |  |  | Y | Y | 21.3 | 6.3
622038 | HY Riwaka at Hickmotts | Flowtracker | FT2H1918008 | 2022-01-21 | 1000 | 1315 |  |  | Y | Y | 5.9 | 1.4
622039 | HY Tadmor at Mudstone | Flowtracker | FT2H1752001 | 2022-01-19 | 920 | 219 |  |  | Y | Y | 5.4 | 10.4
622040 | HY Waimea at TDC Nursery | Flowtracker | FT2H1949009 | 2022-01-24 | 1374 | 2103 |  |  | Y | Y | 6.6 | 2
622041 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1949009 | 2022-01-24 | 1648 |  |  |  | Y
622042 | HY Roding at Skid Site | Flowtracker | FT2H1752001 | 2022-01-24 | 1191 | 278 |  |  | Y | Y | 6.1 | 2.6 |  | No gauging card in bookshelf
622043 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-01-24 | 1420 | 9 |  |  | Y | Y | 7.4 | -5.9 |  | No gauging card in bookshelf
622044 | HY Roding at Skid Site | Flowtracker | FT2H2117022 | 2022-01-25 | 1193 | 257 |  |  | Y | Y | 6.7 | 14 | NCC | NCC Gauging. No gauging card in bookshelf
622045 | HY Roding at Caretakers | Flowtracker | FT2H1902009 | 2022-01-25 | 401 | 191 |  |  | Y | Y | 6.1 | -4.3 | NCC | NCC Gauging. No gauging card in bookshelf
622046 | HY Tadmor at Mudstone | Flowtracker | FT2H1752001 | 2022-01-25 | 899 | 225 |  |  | Y | Y | 6.3 | -15.3 |  | No gauging card in bookshelf
622047 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-01-25 | 935 | 14489 | 14375 |  | Y | Y | 4 | 56.5 |  | QREV used to Calculate final flow: At time of processing the stage data not been re adjusted after offset applied in Hydrotel/Rating. Should plot at 0.5 once rating completed. No gauging card in bookshelf
622048 | HY Motueka at Woodstock | M9 | M9 6307 | 2022-01-25 | 143 | 10915 | 10700 |  | Y | Y | 3.9 | -2.8 |  | QREV used to Calculate final flow
622049 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-01-27 | 1324 | 1951 | 1906 |  | Y | Y | 4.2 | 1.5 |  | QREV used to Calculate final flow. No gauging card in bookshelf
622050 | HY Wairoa at Irvines Bridge | M9 | M9 1664 | 2022-01-27 | 12322 | 1892 | 1843 |  | Y | Y | 3.9 | 3.8 |  | QREV used to Calculate final flow. No gauging card in bookshelf
622051 | HY Motupiko at Christies | Flowtracker | FT2H1918008 | 2022-01-28 | 1505 | 319 |  |  | Y | Y | 5.6 | 8.3
622052 | HY Tadmor at Mudstone | Flowtracker | FT2H1949009 | 2022-01-28 | 909 | 184 |  |  | Y | Y | 6.1 | 12.6 |  | Weir being repaired today
622053 | HY Waimea at TDC Nursery | Flowtracker | FT2H1949009 | 2022-02-01 | 1346 | 1588 |  |  | Y | Y | 5.2 | -2.1
622054 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1949009 | 2022-02-01 | 1617 | 179 |  |  | Y | Y | 6.3 | 10
622055 | HY Lee at u-s Anslow Ck | Flowtracker | FT2H1918008 | 2022-02-02 | 7300 | 707 |  |  | Y | Y | 6.1 | -84.1 |  | No gauging card in bookshelf
622056 | HY Motueka at Gorge | Flowtracker | FT2H1918008 | 2022-02-01 | 557 | 1514 |  |  | Y | Y | 5.9 | -4.7 |  | No gauging card in bookshelf
622057 | HY Motupiko at Christies | Flowtracker | FT2H1918008 | 2022-02-01 | 1488 | 274 |  |  | Y | Y | 6.3 | 2 |  | No gauging card in bookshelf
622058 | HY Brook at Seymour Ave | Flowtracker | FT2H1918008 | 2022-02-09 | 274 | 553 |  |  | Y | Y | 4.9 | -0.5 |  | No gauging card in bookshelf
622059 | HY Wakapuaka at Hira | Flowtracker | FT2H1949009 | 2022-02-09 | 3353 | 3757 |  |  | Y | Y | 5.8 | -25.8 |  | No gauging card in bookshelf
622060 | HY Collins at Drop Structure | Flowtracker | FT2H1949009 | 2022-02-09 | 402 |  |  |  | Y |  |  |  |  | No gauging card in bookshelf
622061 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1949009 | 2022-02-09 | 1307 | 1216 |  |  | Y | Y | 6.1 | -7.8 |  | No gauging card in bookshelf
622062 | HY Maitai at Avon Tce | M9 | RS5 NCC | 2022-02-04 | 2143 | 22546 | 23832 |  | Y | Y | 3.7 | -5.4 | NCC | QREV used to Calculate final flow. No gauging card in bookshelf
622063 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-02-15 | 970 | 35476 | 34882 |  | Y | Y | 6.9 | 0.3 |  | QREV used to Calculate final flow. No gauging card in bookshelf
622064 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-02-15 | 935 | 18916 | 19244 |  | Y | Y | 6.6 | -8 |  | QREV used to Calculate final flow. No gauging card in bookshelf
622065 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-02-15 | 1864 | 65495 | 63250 |  | Y | Y | 16.1 | -4.7 |  | QREV used to Calculate final flow. No gauging card in bookshelf
622066 | HY Brook at Seymour Ave | Flowtracker | FT2H1902009 | 2022-02-04 | 505 | 2470 |  |  | Y | Y | 5.7 | -1.7 | NCC | No gauging card in bookshelf
622067 | HY Brook at Seymour Ave | Flowtracker | FT2H1902009 | 2022-02-11 | 434 | 1723 |  |  | Y | Y | 6.4 | 1.6 | NCC | No gauging card in bookshelf
622068 | HY Maitai at Avon Tce | M9 | RS5 NCC | 2022-02-11 | 1808 | 10729 | 10999 |  | Y | Y | 6 | -1.8 | NCC | QREV used to Calculate final flow. No gauging card in bookshelf
622069 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H1902009 | 2022-02-15 | 1085 | 895 |  |  | Y | Y | 6 | -2.5 | NCC | NCC Gauging - No gauging card in bookshelf
622070 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1949009 | 2022-02-17 | 1455 | 2366 |  |  | Y | Y | 5.2 | 14.1
622071 | HY Riwaka Nth at Littles | Flowtracker | FT2H1949009 | 2022-02-17 | 1762 | 1261 |  |  | Y | Y | 6 | 5.9
622072 | HY Riwaka at Hickmotts | Flowtracker | FT2H1949009 | 2022-02-17 | 1250 | 4473 |  |  | Y | Y | 5.7 | 0.6
622073 | HY Lee at u-s Anslow Ck | Flowtracker | FT2H1918008 | 2022-02-17 | 7906 | 4206 |  |  | Y | Y | 5.4 | 153
622074 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-02-22 | 1490 | 64 |  |  | Y | Y | 6.7 | 35
622075 | HY Roding at Peninsula | Flowtracker | FT2H1752001 | 2022-02-22 | 1027 | 3.747 |  |  | Y | Y | 6 | -2.5
622076 | HY Lee at Meads Br | Flowtracker | FT2H1752001 | 2022-02-22 | 2850 | 5.081 |  |  | Y | Y | 5.9 | -0.5
622077 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-02-22 | 341 | 13394 |  |  | Y | Y | 5.9 | 10.4 |  | SxS
622078 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1949009 | 2022-02-22 | 575 | 4682 |  |  | Y | Y | 6.1 | -5.9
622079 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-02-22 | 663 | 3966 | 3923 |  | Y | Y | 4.9 | 12.7 |  | QREV used to Calculate final flow
622080 | HY Roding at Skid Site | Flowtracker | FT2H1902009 | 2022-02-22 | 1361 | 1471 |  |  | Y | Y | 6.1 | 6.3 | NCC | NCC Gauging
622081 | HY Roding at Caretakers | Flowtracker | FT2H1902009 | 2022-02-22 | 592 | 1685 |  |  | Y | Y | 5.4 | -5.1 | NCC | NCC Gauging
622082 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-02-25 | 1599 | 1030 |  |  | Y | Y | 6.3 | -3.1
622083 | HY Tadmor at Mudstone | Flowtracker | FT2H1949009 | 2022-02-25 | 1084 | 1235 |  |  | Y | Y | 5.6 | -7.2
622084 | HY Maitai at Forks | Flowtracker | FT2H2117022 | 2022-02-23 | 660 | 1557 |  |  | Y | Y | 5.7 | -5.3 | NCC | NCC Gauging
622085 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-02-24 | 539 | 3484 | 3403 |  | Y | Y | 4.9 | -1.2 |  | QREV used to Calculate final flow
622086 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-02-24 | 1348 | 11146 | 10741 |  | Y | Y | 4.8 | -2.4 |  | QREV used to Calculate final flow
622087 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-03-01 | 1569 | 9281 | 9065 |  | Y | Y | 4.3 | 0.2 |  | QREV used to Calculate final flow
622088 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1949009 | 2022-03-01 | 1767 | 1206 |  |  | Y | Y | 6.5 | -7.2
622089 | HY Wakapuaka at Hira | Flowtracker | FT2H2117022 | 2022-03-02 | 3200 | 1273 |  |  | Y | Y | 5.7 | -31.8 | NCC | NCC Gauging
622090 | HY Motueka at Gorge | Flowtracker | FT2H1949009 | 2022-03-02 | 726 | 4026 |  |  | Y | Y | 5.6 | 9.5
622091 | HY Wai-iti at Belgrove | Flowtracker | FT2H1949009 | 2022-03-02 | 324 | 440 |  |  | Y | Y | 6.2 | 57
622092 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-03-02 | 529 | 24115 | 23781 |  | Y | Y | 5.2 |  |  | QREV used to Calculate final flow
622093 | HY Wai-iti at Belgrove | Flowtracker | FT2H1949009 | 2022-03-02 | 315 | 375 |  |  | Y | Y | 6.2 | 63.3
622094 | HY Tadmor at Mudstone | Flowtracker | FT2H1949009 | 2022-03-09 | 997 | 396 |  |  | Y | Y | 6 | 19.2
622095 | HY Motueka at Woodstock | M9 | M9 6307 | 2022-03-09 | 225 | 15092 | 15052 |  | Y | Y | 4.6 | 2 |  | QREV used to Calculate final flow
622096 | HY Waikoropupu at Springs River | M9 | M91664 | 2022-03-08 | 297 | 11462 |  |  | Y | Y | 6.1 | 8.6 |  | SxS
622097 | HY Aorere at Devils Boots | M9 | M91664 | 2022-03-09 | 1203 | 13879 |  |  | Y | Y | 6.7 | 1.2 |  | SxS NIWA comparison done at same time but off cableway
622098 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-03-10 | 292 | 283 |  |  | Y | Y | 6.2
622099 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-03-10 | 990 | 19888 | 19959 |  | y | Y | 10.2 | -10.9 |  | QREV used to Calculate final flow
622100 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1949009 | 2022-03-10 | 1248 | 754 |  |  | Y | Y | 6.5 | 4.3
622101 | HY Lee at Meads Br | Flowtracker | FT2H1918008 | 2022-03-14 | 2509 | 1096 |  |  | Y | Y | 5.6 | -10.6
622102 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1918008 | 2022-03-14 | 1350 | 2202 |  |  | Y | Y | 5.8 | 1.6
622103 | HY Waingaro at Hanging Rock | Flowtracker | FT2H1949009 | 2022-03-14 | 293 | 4891 |  |  | Y | Y | 6.3 | 2.4 |  | Craig Allen (FWE)
622104 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1949009 | 2022-03-14 | 494 | 3168 |  |  | Y | Y | 5.7 | 0.6 |  | Craig Allen (FWE)
622105 | HY Anatoki at Happy Sams | Flowtracker | FT2H1949009 | 2022-03-14 | 362 | 3045 |  |  | Y | Y | 6.2 | 1.4 |  | Craig Allen (FWE)
622106 | HY Takaka at Kotinga | Flowtracker | FT2H1949009 | 2022-03-14 | 1155 | 7394 |  |  | Y | Y | 5.9 | -7.3 |  | Craig Allen (FWE); Filed to ESG stage as no inspection completed. ESG accuracy at +/-20mm as measured down from lower plate
622107 | HY Brook at Seymour Ave | Flowtracker | FT2H2117022 | 2022-03-15 | 157 | 114 |  |  | Y | Y | 6 | -3.6 | NCC | NCC gauging
622108 | HY Maitai at Avon Tce | Flowtracker | FT2H2117022 | 2022-03-15 | 1248 | 797 |  |  | Y | Y | 5.5 | -11.5 | NCC | NCC gauging
622109 | HY Roding at Skid Site | Flowtracker | FT2H1752001 | 2022-03-16 | 1221 | 429 |  |  | Y | Y | 5.7 | -4.9
622110 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-03-16 | 1682 | 510 |  |  | Y | Y | 5.8 | -7.7
622111 | HY Lee Dam Upstream | Flowtracker | FT2H1949009 | 2022-03-17 | 805 | 625 |  |  | Y | Y | 5.9
622112 | HY Lee at u-s Anslow Ck | Flowtracker | FT2H1949009 | 2022-03-17 | 7573 | 823 |  |  | Y | Y | 5.8
622113 | HY Waimea at TDC Nursery | Flowtracker | FT2H1918008 | 2022-03-17 | 1425 | 3436 |  |  | Y | Y | 5.2 | -0.8
622114 | HY Motueka at Gorge | Flowtracker | FT2H1918008 | 2022-03-18 | 587 | 1661 |  |  | Y | Y | 4.5 | 9.5
622115 | HY Wai-iti at Belgrove | Flowtracker | FT2H1918008 | 2022-03-18 | 257 | 223 |  |  | Y | Y | 6.4 | -1.2
622116 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1918008 | 2022-03-22 | 1457 | 20 |  |  | Y | Y | 6.5 | 9.1
622117 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H1902009 | 2022-03-15 | 880 | 176 |  |  | Y | Y | 5.5 | -8.3 | NCC | NCC gauging
622118 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1902009 | 2022-03-15 | 1151 | 303 |  |  | Y | Y | 6 | -7.2 | NCC | NCC gauging
622119 | HY Wai-iti at Belgrove | Flowtracker | FT2H1918008 | 2022-03-22 | 296 | 283 |  |  | Y | Y | 5.9 | 4.7
622120 | HY Riwaka Nth at Littles | Flowtracker | FT2H1949009 | 2022-03-25 | 1706 | 823 |  |  | Y | Y | 5.8 | 8.1
622121 | HY Riwaka at Hickmotts | Flowtracker | FT2H1949009 | 2022-03-25 | 1137 | 2989 |  |  | Y | Y | 6.2 | -5
622122 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-03-24 | 3129 | 630 |  |  | Y | Y | 5.8 | -45.3 | NCC | NCC gauging
622123 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1949009 | 2022-03-22 | 173 | 294 |  |  | Y | Y | 7.1
622124 | HY Roding at Peninsula | Flowtracker | FT2H1918008 | 2022-03-29 | 683 | 761 |  |  | Y | Y | 5.6 | 0.6
622125 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-03-29 | 1515 | 369 |  |  | Y | Y | 6.2 | 4.9
622126 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-04-08 | 3098 |  |  |  | Y |  |  |  | NCC | NCC gauging
622127 | HY Baton at Baton Flats | Flowtracker | FT2H1949009 | 2022-04-05 | 471 | 2366 |  |  | Y | Y | 5.3 | 0.8
622128 | HY Tadmor at Mudstone | Flowtracker | FT2H1949009 | 2022-04-05 | 940 | 256 |  |  | Y | Y | 5.5 | -5
622129 | HY Wangapeka at Walters Peak | Flowtracker | FT2H1949009 | 2022-04-05 | 1190 | 4966 |  |  | Y | Y | 5.5 | 4.9
622130 | HY Brook at Seymour Ave | Flowtracker | FT2H2117022 | 2022-04-12 | 131 | 68 |  |  | Y | Y | 6.8 | -4 | NCC | NCC gauging
622131 | HY Maitai at Avon Tce | Flowtracker | FT2H2117022 | 2022-04-12 | 1210 | 497 |  |  | Y | Y | 6.5 | -13.6 | NCC | NCC gauging
622132 | HY Lee at u-s Anslow Ck | Flowtracker | FT2H1918008 | 2022-04-13 | 7513 | 507 |  |  | Y | Y | 5.8 | 5.4
622133 | HY Lee at Meads Br | Flowtracker | FT2H1918008 | 2022-04-20 | 2416 | 632 |  |  | Y | Y | 6.1 | -10.9
622134 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1918008 | 2022-04-20 | 1250 | 1252 |  |  | Y | Y | 5.6 | -0.1
622135 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H1902009 | 2022-04-12 | 831 | 99 |  |  | Y | Y | 5.5 | 3.2 | NCC | NCC gauging
622136 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1902009 | 2022-04-12 | 1107 | 169 |  |  | Y | Y | 5 | -11 | NCC | NCC gauging
622137 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-04-20 | 280 | 7407 | 6964 |  | Y | Y | 13.2 | 36.2 |  | QREV used to Calculate final flow
622138 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-04-21 | 950 | 15385 | 15256 |  | Y | Y | 7.8 | 0.1 |  | QREV used to Calculate final flow
622139 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-04-21 | 1660 | 346 |  |  | Y | Y | 6.8 | 2.2
622140 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-04-26 | 1457 | 15 |  |  | Y | Y | 7.4 | 53.7
622141 | HY Motueka at Woodstock | M9 | M9 6307 | 2022-04-27 | 201 | 13743 | 13.862 |  | Y | Y | 3.5 | -3.2 |  | QREV used to Calculate final flow
622142 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-04-27 | 290 | 248 |  |  | Y | Y | 6.1 | 13.5 |  | Vertical ESG used for stage
622143 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1918008 | 2022-04-28 | 1280 | 1098 |  |  | Y | Y | 6.4 | -16.8
622144 | HY Riwaka Nth at Littles | Flowtracker | FT2H1918008 | 2022-04-28 | 1653 | 515 |  |  | Y | Y | 5.9 | 3.8
622145 | HY Riwaka at Hickmotts | Flowtracker | FT2H1918008 | 2022-04-28 | 1043 | 1916 |  |  | Y | Y | 6.1 | -8.7
622146 | HY Roding at Caretakers | Flowtracker | FT2H1902009 | 2022-04-28 | 477 | 464 |  |  | Y | Y | 6 | -4.5 | NCC | NCC gauging
622147 | HY Roding at Skid Site | Flowtracker | FT2H1902009 | 2022-04-28 | 1253 | 552 |  |  | Y | Y | 6.2 | 4.9 | NCC | NCC gauging
622148 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1949009 | 2022-04-27 | 443 | 2763
622149 | HY Anatoki at Happy Sams | M9 | M91664 | 2022-04-27 | 494 | 5242 | 5177 |  | Y | Y | 4.9
622150 | HY Takaka at Kotinga | M9 | M91664 | 2022-04-28 | 1126 | 7514 | 7524 |  | Y | Y | 9.4 | 19.9
622151 | HY Waikoropupu at Springs River | M9 | M91664 | 2022-04-28 | 276 | 10571
622152 | HY Takaka at Harwoods | M9 | M91664 | 2022-04-28 | 705 | 5014 |  |  |  | Y
622153 | HY Motueka at Gorge | Flowtracker | FT2H1752001 | 2022-04-28 | 603 | 2077 |  |  | Y | Y | 5.9 | -11.8
622154 | HY Matakitaki at Horse Tce Br | M9 | M91664 | 2022-04-29
622155 | HY Matakitaki at Horse Tce Br | M9 | M91664 | 2022-04-29
622156 | HY Waimea at TDC Nursery | Flowtracker | FT2H1949009 | 2022-05-03 | 1450 | 3699 |  |  | Y | Y | 5.1 | 11.6
622157 | HY Roding at Peninsula | Flowtracker | FT2H1918008 | 2022-05-03 | 718 | 868 |  |  | Y | Y | 5.7 | 13.3 |  |  | ` | `
622158 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1949009 | 2022-05-05 | 1244 | 726 |  |  | Y | Y | 5.2 | -5
622159 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-05-11 | 287 | 15931 | 16001 |  | Y | Y | 3.9 | -42.7
622160 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-05-12 | 351 | 6261 | 6382 |  | Y | Y | 5.2 | -0.6 |  | QREV used to Calculate final flow
622161 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-05-13 | 1316 | 21529 | 22083 |  | Y | Y | 17.2 | -1.7 |  | QREV used to Calculate final flow
622162 | HY Lee at u-s Anslow Ck | M9 | M9 6307 | 2022-05-17 | 7897 | 1325
622163 | HY Maitai at Forks | Flowtracker | FT2H1752001 | 2022-05-17 | 478 | 359 |  |  | Y | Y | 6 | 7.7
622164 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1752001 | 2022-05-17 | 1153 | 315 |  |  | Y | Y | 5.8 | -8.6
622165 | HY Collins at Drop Structure | Flowtracker | FT2H1752001 | 2022-05-17 | 236 | 146 |  |  | Y | Y | 6.5 | -3.6
622166 | HY Wakapuaka at Hira | Flowtracker | FT2H1752001 | 2022-05-17 | 3089 | 380 |  |  | Y | Y | 6.1 | -4.9
622167 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-05-18 | 506 | 2887 | 2962 |  | Y | Y | 6.2 | -3.1 |  | QREV used to calculate final flow
622168 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-05-18 | 1340 | 10400 | 10477 |  | Y | Y | 5.5 | -2.7 |  | QREV used to calculate final flow
622169 | HY Motupipi at Reillys Bridge | Current Meter | Seba 1799 | 2022-04-20 | 150 | 252 |  |  | Y | Y | 8.3 | 121.5
622170 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1918008 | 2022-05-18 | 145 | 253 |  |  | Y | Y | 7.3 | 100.4
622171 | HY Tadmor at Mudstone | Flowtracker | FT2H1918008 | 2022-05-19 | 1015 | 529 |  |  | Y | Y | 6.1 | -0.9
622172 | HY Motupiko at Christies | Flowtracker | FT2H1918008 | 2022-05-19 | 1587 | 898 |  |  | Y | Y | 6 | -3.1
622173 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-05-20 | 1655 | 46925 | 47442 |  | Y | Y | 15.6 | -22.7 |  | QREV used to calculate final flow
622174 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-05-23 | 1456 | 15 |  |  | Y | Y | 7 | 40.3
622175 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H2117022 | 2022-05-12 | 858 | 146 |  |  | Y | Y | 5 | -9.1 | NCC | NCC gauging
622176 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-05-23 | 1538 | 7265 | 7.262 |  | Y | Y | 3.9 | 6.6 |  | QREV used to calculate final flow
622177 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-05-23 | 1740 | 1017 |  |  | Y | Y | 6.6 | -5.6
622178 | HY Motupipi at Reillys Bridge | Current Meter | Seba 1363 | 2022-02-22 | 175 | 515 |  |  | Y | Y | 7.3 | 62.3
622179 | HY Lee at Meads Br | Flowtracker | FT2H1949009 | 2022-05-25 | 2560 | 1224 |  |  | Y | Y | 6 | 8
622180 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1949009 | 2022-05-25 | 1382 | 2199 |  |  | Y | Y | 5.5 | 21
622181 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-05-25 | 254 | 9477 |  |  | Y | Y | 6.5 | 2.2 |  | SxS
622182 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-05-26 | 810 | 7191 | 7225 |  | Y | Y | 4.5 | -6.7 |  | QREV used to calculate final flow
622183 | HY Anatoki at Happy Sams | Flowtracker | FT2H1752001 | 2022-05-25 | 518 | 5470 |  |  | Y | Y | 5.9 | 6.6 |  | Craig Allen (FWE)
622184 | HY Takaka at Kotinga | Flowtracker | FT2H1752001 | 2022-05-25 | 1267 | 12438 |  |  | Y | Y | 5.9 | -10.8 |  | Craig Allen (FWE)
622185 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1752001 | 2022-05-25 | 399 | 2037 |  |  | Y | Y | 6.1 | 2.6 |  | Craig Allen (FWE)
622186 | HY Roding at Skid Site | Flowtracker | FT2H1918008 | 2022-05-26 | 1236 | 481 |  |  | Y | Y | 6.1
622187 | HY Brook at Seymour Ave | Flowtracker | FT2H1752001 | 2022-05-31 | 272 | 675
622188 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-05-31 | 1547 | 279 |  |  | Y | Y | 6.2 | 17.7
622189 | HY Riwaka Sth at Moss Bush | M9 | M9 6307 | 2022-06-03 | 1547 | 4570
622190 | HY Riwaka Nth at Littles | Flowtracker | FT2H1752001 | 2022-06-03 | 1806 | 1747 |  |  | Y | Y | 5.5 | -3.9
622191 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-06-08 | 1774 | 109363 | 109770 |  | Y | Y | 12.6 | -1.7 |  | QREV used to calculate final flow
622192 | HY Riwaka at Hickmotts | M9 | M9 6307 | 2022-06-08 | 1558 | 10422 | 10610 |  | Y | Y | 9.4 | -3 |  | QREV used to calculate final flow
622193 | HY Wakapuaka at Hira | Flowtracker | FT2H2117022 | 2022-06-07 | 3262 | 2027 |  |  | Y | Y | 6.3 | 0.6 | NCC | NCC gauging
622194 | HY Brook at Seymour Ave | Flowtracker | FT2H2117022 | 2022-06-15 | 257 | 505 |  |  | Y | Y | 5.9 | -9.3 | NCC | NCC gauging
622195 | HY Maitai at Avon Tce | Flowtracker | FT2H2117022 | 2022-06-15 | 1480 | 3502 |  |  | Y | Y | 5.6 | 6.6 | NCC | NCC gauging
622196 | HY Roding at Peninsula | Flowtracker | FT2H1752001 | 2022-06-16 | 1118 | 5169 |  |  | Y | Y | 5.5 | -3.3
622197 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-06-17 | 1500 | 104 |  |  | Y | Y | 6.1 | 13.6
622198 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-06-21 | 489 | 1195 |  |  | Y | Y | 5.9 | 128.1
622199 | HY Lee at u-s Anslow Ck | M9 | M9 6307 | 2022-06-22 | 7469 | 2448 | 2445 |  | Y | Y | 5 | -46.1 |  | QREV used to calculate final flow
622200 | HY Motueka at Woodstock | M9 | M9 6307 | 2022-06-23 | 658 | 51024 | 51370 |  | Y | Y | 9.1 | -4.2 |  | QREV used to calculate final flow
622201 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1918008 | 2022-06-23 | 1321 | 1531 |  |  | Y | Y | 5.4 | -13.3
622202 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1918008 | 2022-06-22 | 159 | 510 |  |  | Y | Y | 6.8 | 28.2
622203 | HY Motueka at Gorge | Flowtracker | FT2H1752001 | 2022-06-23 | 788 | 5742 |  |  | Y | Y | 5.7 | -1.5
622204 | HY Motupiko at Christies | Flowtracker | FT2H1752001 | 2022-06-23 | 1805 | 2033 |  |  | Y | Y | 5.8 | 124.3
622205 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-07-01 | 330 | 25282 | 25815 |  | Y | Y | 5.9 | -59.1 |  | QREV used to calculate final flow
622206 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H1902009 | 2022-06-15 | 1022 | 593 |  |  | Y | Y | 6 | -8.4 | NCC | NCC gauging
622207 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1902009 | 2022-06-15 | 1292 | 1023 |  |  | Y | Y | 6.4 | -1.5 | NCC | NCC gauging
622208 | HY Brook at Seymour Ave | Flowtracker | FT2H2117022 | 2022-06-29 | 443 | 1605 |  |  | Y | Y | 5.9 | 14.1 | NCC | NCC gauging
622209 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1752001 | 2022-07-05 | 1581 | 5481 |  |  | Y | Y | 5.3 | 13.6
622210 | HY Lee at Meads Br | Flowtracker | FT2H1752001 | 2022-07-05 | 2759 | 2908 |  |  | Y | Y | 5.5 | 20.6
622211 | HY Roding at Peninsula | Flowtracker | FT2H1752001 | 2022-07-05 | 908 | 2508 |  |  | Y | Y
622212 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-07-05 | 597 | 4703
622213 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-07-05 | 1394 | 12936 | 13275 |  | Y | Y | 3.8 | -7.6
622214 | HY Tadmor at Mudstone | Flowtracker | FT2H1918008 | 2022-07-05 | 1068 | 948 |  |  | Y | Y | 5.9 | -3.2
622215 | HY Waimea at TDC Nursery | M9 | M9 1664 | 2022-07-07 | 1629 | 12942 | 12756 |  | Y | Y | 6.5 | -2.2 |  | QREV used to calculate final flow
622216 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1949009 | 2022-07-07 | 1891 | 3086 |  |  | Y | Y | 5.8 | -12.5
622217 | HY Motupiko at Christies | Flowtracker | FT2H1918008 | 2022-07-06 | 1765 | 1414 |  |  | Y | Y | 5.1 | 161.8
622218 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-07-06 | 500 | 10988 | 11149 |  | Y | Y | 4.2 | -4.1 |  | QREV used to calculate final flow
622219 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-07-06 | 1355 | 19305 | 19821 |  | Y | Y | 3.9 | -10.7 |  | QREV used to calculate final flow
622220 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1752001 | 2022-07-06 | 507 | 3727 |  |  | Y | Y | 5.8 | -4.8
622221 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-07-07 | 298 | 10932 |  |  | Y | Y | 6.3 | 7.3
622222 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-07-07 | 512 | 5790 |  |  | Y | Y | 5.3 | -1.5
622223 | HY Riwaka at Hickmotts | M9 | M9 6307 | 2022-07-12 | 4001 | 103452 |  |  | Y | Y | 7 | 33.3 |  | SxS Gauging off cycle bridge
622224 | HY Riwaka at Hickmotts | M9 | M9 6307 | 2022-07-12 | 3848 | 96823 |  |  | Y | Y | 7 | 30.2 |  | SxS Gauging off cycle bridge
622225 | HY Brook at Seymour Ave | Flowtracker | FT2H1902009 | 2022-07-14 | 362 | 1014 |  |  | Y | Y | 6.2 | 13.9 | NCC | NCC gauging
622226 | HY Maitai at Avon Tce | Flowtracker | FT2H1902009 | 2022-07-14 | 1625 | 6226 |  |  | Y | Y | 5.9 | 4.3 | NCC | NCC gauging
622227 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1949009 | 2022-07-19 | 166 | 698 |  |  | Y | Y | 6.6 | 4.8
622228 | HY Riwaka at Hickmotts | STIV | STIV | 2022-07-12
622229 | HY Riwaka at Hickmotts | STIV | STIV | 2022-07-12
622230 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-07-21 | 518 | 45022 | 45323 |  | Y | Y | 6.7 | -59.7 |  | QREV used to calculate final flow and LC applied
622231 | HY Roding at Skid Site | Flowtracker | FT2H2117022 | 2022-06-28 | 1347 | 1347 |  |  | Y | Y | 5.6 | 14.2 | NCC | NCC gauging
622232 | HY Roding at Caretakers | Flowtracker | FT2H2117022 | 2022-06-28 | 567 | 1311 |  |  | Y | Y | 5.8 |  | NCC | NCC gauging
622233 | HY Roding at Skid Site | Flowtracker | FT2H2117022 | 2022-07-25 | 1352 | 1338 |  |  | Y | Y | 5.5 | 8.8 | NCC | NCC gauging
622234 | HY Roding at Caretakers | Flowtracker | FT2H2117022 | 2022-07-25 | 567 | 1475 |  |  | Y | Y | 6 |  | NCC | NCC gauging
622235 | HY Lee at u-s Anslow Ck | M9 | M9 6307 | 2022-07-27 | 7859 | 9098 | 8639 |  | Y | Y | 8 | 5.9 |  | QREV used to calculate final flow
622236 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-07-28 | 362 | 14195 |  |  | Y | Y | 6.4 | 3.4 |  | SxS gauging.
622237 | HY Riwaka Sth at Moss Bush | M9 | M9 6307 | 2022-07-29 | 1625 | 6019 | 6253 |  | Y | Y | 9.9 | -3.8 |  | QREV used to calculate final flow
622238 | HY Riwaka Nth at Littles | Flowtracker | FT2H1949009 | 2022-07-29 | 1914 | 3072 |  |  | Y | Y | 5.7 | -5.2
622239 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1902009 | 2022-07-27 | 1546 | 367 |  |  | Y | Y | 6.2 | -11.8 | NCC | NCC gauging
622240 | HY Waimea at TDC Nursery | M9 | M9 1664 | 2022-08-04 | 2135 | 56031 | 56768 |  | Y | Y | 6.34 | -2.2 |  | QREV used to calculate final flow
622241 | HY Lee at Meads Br | M9 | M9 1664 | 2022-08-04 | 2983 | 8.363 | 8.283 |  | Y | Y | 4.4 | -16.6 |  | QREV used to calculate final flow
622242 | HY Roding at Peninsula | M9 | M9 1664 | 2022-08-04 | 1200 | 6641 | 6636 |  | Y | Y | 6.6 | -2.2 |  | QREV used to calculate final flow
622243 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-08-04 | 1785 | 77132 | 77791 |  | Y | Y | 8.5 | -2.8 |  | QREV used to calculate final flow
622244 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1752001 | 2022-08-04 | 589 | 5778 |  |  | Y | Y | 6 | -16.1
622245 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-08-05 | 1614 | 46041 | 46238 |  | Y | Y | 5.3 | -9.4 |  | QREV used to calculate final flow
622246 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-08-05 | 785 | 13117 | 13532 |  | Y | Y | 6.2 | -7.2 |  | QREV used to calculate final flow
622247 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-08-05 | 800 | 23376 | 23035 |  | Y | Y | 7 | 0.6 |  | QREV used to calculate final flow
622248 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-08-05 | 1168 | 15889 | 16486 |  | Y | Y | 6.8 | 14.9 |  | QREV used to calculate final flow
622249 | HY Maitai Sth at Old Intake | Flowtracker | FT2H2117022 | 2022-07-14 | 1366 | 1482 |  |  | Y | Y | 5.2 | 11.2 | NCC | NCC gauging
622250 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1902009 | 2022-08-08 | 1520 | 146 |  |  | Y | Y | 6.4 | 34 | NCC | NCC gauging
622251 | HY Wakapuaka at Hira | M9 | RS5 | 2022-08-04 | 3343 | 3472 | 3401 |  | Y | Y | 9.4 |  | NCC | NCC gauging -QREV used to calculate final flow
622252 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-08-09 | 1914 | 5022
622253 | HY Tadmor at Mudstone | Flowtracker | FT2H1949009 | 2022-08-09 | 1283 | 5139 |  |  | Y | Y | 5.8 | -2.1
622254 | HY Wai-iti at Belgrove | Flowtracker | FT2H1949009 | 2022-08-09 | 559 | 2504 |  |  | Y | Y | 6.1 | 84.4
622255 | HY Motueka at Gorge | M9 | M9 6307 | 2022-08-10 | 902 | 8286 | 8743 |  | Y | Y | 5 | 6.6 |  | QREV used to calculate final flow
622256 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-08-10 | 779 | 11006 | 11472 |  | Y | Y | 4.5 | -26.7 |  | QREV used to calculate final flow
622257 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-08-10 | 1728 | 30645 | 31120 |  | Y | Y | 8 | 6.9 |  | QREV used to calculate final flow
622258 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-08-11 | 1661 | 94769 | 93099 |  | Y | Y | 4.6 | -3.2 |  | QREV used to calculate final flow
622259 | HY Motueka at Woodstock | M9 | M9 6307 | 2022-08-11 | 903 | 75997 | 76087 |  | Y | Y | 5.8 | 1.5 |  | QREV used to calculate final flow
622260 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1949009 | 2022-08-15 | 1912 | 4038 |  |  | Y | Y | 5 | -23.5
622261 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-08-15 | 1562 | 6157 | 6072 |  | Y | Y | 6.2 | -14 |  | QREV used to calculate final flow
622264 | HY Lee at Meads Br | M9 | M9 6307 | 2022-08-17 | 4430 | [8 empty] | SxS gauging.
622265 | HY Lee at Meads Br | M9 | M9 6307 | 2022-08-17 | 4422 | 106456 |  |  | Y | Y | 7 | -37.8 |  | SxS gauging.
622266 | HY Lee at Meads Br | M9 | M9 6307 | 2022-08-17 | 4357 | 130172 |  |  | Y | Y | 6.2 | -52 |  | SxS gauging.
622267 | HY Lee at Meads Br | M9 | M9 6307 | 2022-08-17 | 4386 | 90167 |  |  | Y | Y | 6.9 | -28.9 |  | SxS gauging.
622268 | HY Lee at Meads Br | STIV | JST's Phone | 2022-08-17
622269 | HY Maitai at Avon Tce | Other | SVR | 2022-08-17 | 4970 | [8 empty] | SVR by NIWA at Bridge St Bridge 1508-1540
622270 | HY Maitai at Avon Tce | Other | SVR | 2022-08-17 | 5007 | [8 empty] | SVR by NIWA at Bridge St Bridge 1540-1605
622271 | HY Brook at Seymour Ave | STIV | NIWA Phone | 2022-08-17 | [9 empty] | Oblique Phone video at 1625 (Larges Lane) - Attempted to process but image couldn't be orthorectified
622272 | HY Brook at Seymour Ave | STIV | NIWA Phone | 2022-08-17 | [9 empty] | Oblique Phone video at 1625 (Larges Lane) - Attempted to process but image couldn't be orthorectified
622273 | HY Maitai at Avon Tce | STIV | HydroPhantom4 | 2022-08-17 | 5063 | 304789 |  |  | Y | Y |  | 48.9 |  | Chris Drone at Hardy st Footbridge 1721
622274 | HY Brook at Seymour Ave | STIV | MattO Phone | 2022-08-17 | 1047 | 30313 |  |  | Y | Y |  | -62.3 |  | Oblique Phone video at 1739 (Larges Lane)
622275 | HY Aorere at Devils Boots | STIV | SwellPro | 2022-08-17 | [9 empty] | Bryan Drone at Rockville Bridge
622276 | HY Takaka at Kotinga | STIV | SwellPro | 2022-08-17 | 4879 | 1199113 |  |  | Y | Y |  | 7.5 |  | Bryan Drone at Kotinga site
622277 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-08-18 | 3766 | 138953 |  |  | Y | Y | 5.5 | 3.7 |  | SxS gauging.
622278 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-08-18 | 3761 | 138887 |  |  | Y | Y | 5.5 | 3.4 |  | SxS gauging.
622279 | HY Lee at Meads Br | STIV | CS Phone | 2022-08-18 | [9 empty] | Oblique STIV
622280 | HY Maitai at Avon Tce | Other | SVR | 2022-08-18 | 3890 | [8 empty] | SVR by NIWA at Bridge St Bridge 1330-1400
622281 | HY Maitai at Avon Tce | Other | SVR | 2022-08-18 | 4248 | [8 empty] | SVR by NIWA at Bridge St Bridge 1510-1530
622282 | HY Maitai at Avon Tce | Other | SVR | 2022-08-18 | 4585 | [8 empty] | SVR by NIWA at Bridge St Bridge 1630-1655
622283 | HY Takaka at Kotinga | STIV | SwellPro | 2022-08-18 | 4617 | 981976 |  |  | Y | Y |  | 14.8 |  | Bryan Drone at Kotinga site
622284 | HY Maitai at Avon Tce | Other | RiverPro | 2022-08-19 | 2609 | 58.674 |  |  | Y | Y | 7.5 |  |  | RiverPro SxS 15m d/s Avon Tce ESG 1242-1305
622285 | HY Maitai at Avon Tce | Other | RiverPro | 2022-08-19 | 2565 | 54.12 |  |  | Y | Y | 7.5 |  |  | RiverPro SxS 15m d/s Avon Tce ESG 1335-1359
622286 | HY Maitai at Avon Tce | Other | RiverPro | 2022-08-19 | 2482 | 49.987 |  |  | Y | Y | 7.5 |  |  | RiverPro SxS 15m d/s Avon Tce ESG 1642-1702
622287 | HY Brook at Seymour Ave | STIV | SwellPro | 2022-08-20 | 1040 | 28935 |  |  | Y | Y |  | 1.7 |  | Chris Drone at Larges Lane 0732 Corrected larges lane ESG 11070
622288 | HY Maitai at Avon Tce | STIV | SwellPro | 2022-08-20 | 3853 | 162392 |  |  | Y | Y |  | 2.1 |  | Chris Drone at Avon Tce site 0840
622289 | HY Maitai at Avon Tce | Other | SVR | 2022-08-20 | [9 empty] | SVR by NIWA at Bridge St Bridge 0825-0850
622290 | HY Maitai at Avon Tce | Other | RiverPro | 2022-08-20 | 3653 | 154719 |  |  | Y | Y |  | -10.1 |  | Riverpro SxS Trafalgar Park foot bridge 0944-1010. 15 minute offset to Avon Tce used.
622291 | HY Maitai at Avon Tce | STIV | SwellPro | 2022-08-20 | 3575 | 117500 |  |  | Y | Y |  | -9.5 |  | Chris Drone at Trafalgar Park site 1030
622292 | HY Maitai at Avon Tce | M9 | M9 1664 | 2022-08-20 | 3514 | 110399 |  |  | Y | Y | 7 | 3.2 |  | M9 SXS at Trafalgar Park foot bridge 1036-1058
622293 | HY Maitai at Avon Tce | M9 | M9 1664 | 2022-08-20 | 3285 | 109578 |  |  | Y | Y | 6.6 |  |  | M9 SXS at Trafalgar Park foot bridge 1222-1251
622293.5 | HY Lee at Meads Br | STIV | MCD Phone | 2022-08-20 | 6262 | 258960 |  |  | Y | Y |  | -5.6 |  | Oblique phone video from helicopter
622294 | HY Wairoa at Gorge 2 | STIV | MCD Camera | 2022-08-20 | 4948 | 945561 |  |  | Y | Y |  | 1.5 |  | Oblique Camera video from helicopter
622295 | HY Waimea at TDC Nursery | STIV | BIOPhantom4 | 2022-08-20 | 5199 | 869518 |  |  | Y | Y |  | -2.2 |  | Bryan Drone at TDC Nursery
622296 | HY Roding at Peninsula | STIV | MCD Camera | 2022-08-20 | 5060 | 274398 |  |  | Y | Y |  | 17.5 |  | Oblique Camera video from helicopter at Twin Bridges
622297 | HY Wairoa at Irvines Bridge | STIV | MCD Camera | 2022-08-20 | [9 empty] | Oblique Camera video from helicopter
622298 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-08-20 | 4527 | 210375 |  |  | Y | Y | 7 | 4.7 |  | SxS gauging.
622299 | HY Wairoa at Irvines Bridge | STIV | BIOPhantom4 | 2022-08-20 | 4464 | 209522 |  |  | Y | Y |  | 1.8 |  | Bryan Drone at Irvines Br
622300 | HY Lee at Meads Br | STIV | BIOPhantom4 | 2022-08-20 | 4631 | 105731 |  |  | Y | Y |  | -17.4 |  | Bryan Drone at Meads Br
622301 | HY Roding at Peninsula | STIV | BIOPhantom4 | 2022-08-20 | 2908 | 142632 |  |  | Y | Y |  | -34 |  | Bryan Drone at Twin Bridges
622302 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-08-20 | 3939 | 160262 |  |  | Y | Y | 7.2 | -1.5 |  | SxS gauging.
622303 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-08-20 | 3878 | 157415 |  |  | Y | Y | 5.3 | -1.9 |  | SxS gauging.
622305 | HY Lee at Meads Br | M9 | M9 6307 | 2022-08-22 | 3260 | 18639 | 18840 |  | Y | Y | 19.9 | -23 |  | QREV used to calculate final flow and LC applied
622306 | HY Maitai at Avon Tce | StreamPro | Streampro 693 | 2022-08-23 | 1620 | 9760 |  |  | Y | Y |  | -34.5 |  | NIWA Streampro Moving Avon Tce 1218-1233
622307 | HY Wai-iti at Livingston Rd | M9 | M9 1664 | 2022-08-23 | 2336 | 22010 |  |  | Y | Y | 6.3 | -27.9 |  | SxS gauging.
622308 | HY Wai-iti at Livingston Rd | M9 | M9 1664 | 2022-08-23 | 2334 | 21928 |  |  | Y | Y | 6.3 | -27.9 |  | SxS gauging.
622309 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-08-23 | 406 | 17725 |  |  | Y | Y | 6 | -2.3 |  | SxS gauging.
622310 | HY Fish Creek at Waikoropupu | M9 | M9 6307 | 2022-08-23 | 670 | 7595 | 8370 |  | Y | Y |  | -13.6 |  | Used RiverSurveyor result used, as Qrev dosen't seem to handle xs1
622311 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-08-24 | 1739 | 73219 | 73750 |  | Y | Y | 5.4 | -6.9 |  | QREV used to calculate final flow
622312 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-08-24 | 1083 | 14696 | 15014 |  | Y | Y | 5.8 | 2.6 |  | QREV used to calculate final flow
622313 | HY Matakitaki at Horse Tce Br | M9 | M9 1664 | 2022-08-25 | 684 | 54976 | 55384 |  | Y | Y | 7.8 | -45.2 |  | QREV used to calculate final flow
622314 | HY Wakapuaka at Hira | Flowtracker | FT2H2117022 | 2022-08-25 | 4283 | 4603 |  |  | Y | Y | 6.1 | 522.4 | NCC | NCC gauging
622315 | HY Collins at Drop Structure | Flowtracker | FT2H2117022 | 2022-08-26 | 373 | 819 |  |  | Y | Y | 7.1 | 9.1 | NCC | NCC gauging
622316 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-08-29 | 1938 | 25018 | 25120 |  | Y | Y | 5.6 | 45.3 |  | QREV used to calculate final flow
622317 | HY Brook at Seymour Ave | Flowtracker | FT2H2117022 | 2022-08-29 | [8 empty] | NCC
622318 | HY Orphanage at Ngawhatu | Flowtracker | FT2H2117022 | 2022-08-29 | 1500 | 107 |  |  | Y | Y | 4.5 | 10.3 | NCC | NCC gauging
622319 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-08-30 | 498 | 1413 |  |  | Y | Y | 6.4 | -8.9
622320 | HY Roding at Peninsula | M9 | M9 1664 | 2022-08-30 | 1045 | 3695 | 3569 |  | Y | Y | 9.3 | 9.1 |  | QREV used to calculate final flow
622321 | HY Lee at Meads Br | M9 | M9 1664 | 2022-08-30 | 2670 | 3782 | 3871 |  | Y | Y | 8.4 | -54.2 |  | QREV used to calculate final flow
622322 | HY Wairoa at Irvines Bridge | M9 | M9 1664 | 2022-08-30 | 1585 | 7748 | 8066 |  | Y | Y | 6.3 | -26.2 |  | QREV used to calculate final flow
622323 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1949009 | 2022-08-30 | 159 | 643 |  |  | Y | Y | 6.6 | 1.7
622324 | HY Roding at Skid Site | Flowtracker | FT2H2117022 | 2022-08-30 | 1358 | 1063 |  |  | Y | Y | 5.9 | 29 | NCC | NCC gauging
622325 | HY Roding at Caretakers | Flowtracker | FT2H2117022 | 2022-08-30 | 548 | 1170 |  |  | Y | Y | 6.6 | 3.5 | NCC | NCC gauging
622326 | HY Motupiko at Christies | Flowtracker | FT2H194009 | 2022-08-31 | 1639 | 2265 |  |  | Y | Y | 6 | -83.6
622327 | HY Tadmor at Mudstone | Flowtracker | FT2H194009 | 2022-08-31 | 1136 | 1494 |  |  | Y | Y | 6.2 | 15
622328 | HY Motueka at Gorge | M9 | M9 1664 | 2022-08-31 | 825 | 6772 | 6726 |  | Y | Y | 5.6 | -0.8 |  | QREV used to calculate final flow
622329 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-08-31 | 642 | 16443 | 16659 |  | Y | Y | 10.3 | -4.1 |  | QREV used to calculate final flow
622330 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-08-31 | 655 | 9765 | 10031 |  | Y | Y | 7.4 | -10.8 |  | QREV used to calculate final flow
622331 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-08-31 | 1860 | 34275 | 34613 |  | Y | Y | 11.8 | 106.3 |  | QREV used to calculate final flow
622332 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1752001 | 2022-08-31 | 591 | 6017 |  |  | Y | Y | 5.6 | -18.9
622333 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1752001 | 2022-09-01 | 1382 | 2337 |  |  | Y | Y | 6.2 | -8.3
622334 | HY Riwaka Nth at Littles | Flowtracker | FT2H1752001 | 2022-09-01 | 1744 | 1322 |  |  | Y | Y | 5.9 | -14.3
622335 | HY Riwaka at Hickmotts | Flowtracker | FT2H1752001 | 2022-09-01 | 1228 | 5216 |  |  | Y | Y | 5.6 | -17.4
622336 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-09-02 | 1841 | 17031 | 17216 |  | Y | Y | 4.7 | 65.3 |  | QREV used to calculate final flow
622337 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-09-02 | 1855 | 3702 |  |  | Y | Y | 5.8 | -27.5
622338 | HY Lee at u-s Anslow Ck | M9 | M9 1664 | 2022-09-01 | 7616 | 2131 | 2232 |  | Y | Y | 8.8 | 1.04
622339 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-09-06 | 1709 | 21435 | 21938 |  | Y | Y | 5.6 | 139.1 |  | QREV used to calculate final flow
622340 | HY Maitai Sth at Old Intake | Flowtracker | P4593 | 2022-08-26 | 1276 | 1192 |  |  | Y | Y | 5.9 | -29.3 |  | NIWA?
622341 | HY Maitai at Forks | Flowtracker | P4593 | 2022-08-26 | 787 | 2001 |  |  | Y | Y | 5.7 | 44 |  | NIWA?
622342 | HY Motupiko at Christies | Flowtracker | FT2H1752001 | 2022-09-06 | 1595 | 1514 |  |  | Y | Y | 6.3 | 8.2
622343 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-09-06 | 451 | 866 |  |  | Y | Y | 6.4 | -20.1
622344 | HY Waimea at TDC Nursery | M9 | 6307 | 2022-09-07 | 1758 | 12577 | 12531 |  | Y | Y | 5.4 | -9.85
622345 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-09-08 | 1429 | 4162 | 4376 |  | Y | Y | 7.3 | -16.9 |  | QREV used to calculate final flow
622346 | HY Roding at Skid Site | Flowtracker | FT2H1752001 | 2022-09-13 | 1283 | 615 |  |  | Y | Y | 6.5 | 9.1
622347 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1752001 | 2022-09-13 | 1475 | 41.5 |  |  | Y | Y | 6.5 | 3.7
622348 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H 1918008 | 2022-09-14 | 1315 | 1648 |  |  | Y | Y | 5.5 | -7.6
622349 | HY Riwaka Nth at Littles | Flowtracker | FT2H 1918008 | 2022-09-14 | 1706 | 992 |  |  | Y | Y | 6.2 | -14.1
622350 | HY Riwaka at Hickmotts | Flowtracker | FT2H 1918008 | 2022-09-14 | 1130 | 3592 |  |  | Y | Y | 2.9 | -18.4
622351 | HY Brook at Seymour Ave | Flowtracker | FT2H1918008 | 2022-09-20 | 178 | 162 |  |  | Y | Y | 5.4 | -1.4
622352 | HY Wakapuaka at Hira | Flowtracker | FT2H1918008 | 2022-09-20 | 4105 | 941 |  |  | Y | Y | 5.9 | 76.7
622353 | HY Maitai at Avon Tce | Flowtracker | FT2H2117022 | 2022-09-15 | 1170 | 1142 |  |  | Y | Y | 6.7 | 51.3 | NCC | NCC gauging
622354 | HY Maitai at Forks | Flowtracker | FT2H1902009 | 2022-09-16 | 556 | 542 |  |  | Y | Y | 5.5 | 36.8 | NCC | NCC gauging
622355 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H2117022 | 2022-09-16 | 920 | 223 |  |  | Y | Y | 5.9 | 2.8 | NCC | NCC gauging
622356 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1902009 | 2022-09-16 | 1105 | 379 |  |  | Y | Y | 6.5 | -66.9 | NCC | NCC gauging
622357 | HY Motupipi at Reillys Bridge | Current Meter | Seba 1606 | 2022-09-21 | 146 | 541 |  |  | Y | Y | 7 | 4.4
622358 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-09-23 | 675 | 6625 | 6756 |  | Y | Y | 7.1 | -13.5 |  | QREV used to calculate final flow
622359 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-09-23 | 1560 | 20635 | 21157 |  | Y | Y | 5 | 0 |  | QREV used to calculate final flow
622360 | HY Tadmor at Mudstone | Flowtracker | FT2H1752001 | 2022-09-23 | 1146 | 1170 |  |  | Y | Y | 6 | -4.9
622361 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1752001 | 2022-09-27 | 1774 | 2142 |  |  | Y | Y | 6 | -44.6
622362 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-09-28 | 559 | 4722 | 4932 |  | Y | Y | 9.1 | -25.4 |  | QREV used to calculate final flow
622363 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-09-28 | 1287 | 42877 | 42178 |  | Y | Y | 5.2 | 2 |  | QREV used to calculate final flow
622364 | HY Lee at u-s Anslow Ck | M9 | M9 1664 | 2022-04-10 | 7677 | 3640 | 3794 |  | Y | Y | 8.8 | -22 |  | QREV used to calculate final flow
622365 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H194009 | 2022-10-05 | 547 | 4974 |  |  | Y | Y | 5.8 | -16.3
622366 | HY Waikoropupu at Springs River | M9 | M9 1664 | 2022-10-05 | 315 | [8 empty] | SxS
622367 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-10-04 | 1067 | 15054 | 15323 |  | Y | Y | 5.2 | -3.5 |  | QREV used to calculate final flow
622368 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-10-04 | 751 | 21506 | 21696 |  | Y | Y | 6.7 | -3.8 |  | QREV used to calculate final flow
622369 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-10-04 | 1916 | 39052 | 39493 |  | Y | Y | 4.8 | 5.9 |  | QREV used to calculate final flow
622370 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-10-04 | 770 | 12572 | 12700 |  | Y | Y | 6.6 | -4.7 |  | QREV used to calculate final flow
622371 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-10-05 | 1544 | 48910 | 49408 |  | Y | Y | 7.3 | -12.8 |  | QREV used to calculate final flow
622372 | HY Motupiko at Christies | Flowtracker | FT2H194009 | 2022-10-06 | 1685 | 3268 |  |  | Y | Y | 6.5 | -8.1
622373 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-10-06 | 4119 | 1840 |  |  | Y | Y | 5.5 | 7.8 | NCC | NCC gauging
622374 | HY Lee at Meads Br | Flowtracker | FT2H1918008 | 2022-10-06 | 2672 | 3637 |  |  | Y | Y | 5.7 | 4.7
622375 | HY Wairoa at Irvines Bridge | M9 | M9 6307 | 2022-10-06 | 1538 | 6730 | 6897 |  | Y | Y | 5.4 | -10 |  | QREV used to calculate final flow
622376 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-10-11 | 1661 | 11336 | 10523 |  | Y | Y | 6.9 | -42.5 |  | QREV used to calculate final flow
622377 | HY Roding at Peninsula | Flowtracker | FT2H1949009 | 2022-10-11 | 840 | 1861 |  |  | Y | Y | 5.7 | -0.4
622378 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-10-18 | 1538 | 1097 |  |  | Y | Y | 6.1 | -11.1
622379 | HY Wai-iti at Belgrove | Flowtracker | FT2H1949009 | 2022-10-18 | 414 | 526 |  |  | Y | Y | 6.4 | 12.8
622380 | HY Brook at Seymour Ave | Flowtracker | FT2H2117022 | 2022-10-18 | [8 empty] | NCC
622381 | HY Maitai at Avon Tce | Flowtracker | FT2H2117022 | 2022-10-18 | [8 empty] | NCC
622382 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1918008 | 2022-10-18 | 136 | 408 |  |  | Y | Y | 6.6 | 2.7
622383 | HY Maitai at Avon Tce | Other | RiverPro | 2022-09-29 | 2480 | 45435 |  |  | Y | Y | 7.4 |  | NCC | NIWA gauging for NCC
622384 | HY Maitai Nth at u-s Lake | Flowtracker | FT2H1902009 | 2022-10-18 | [8 empty] | NCC
622385 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1902009 | 2022-10-18 | 1100 | 342 |  |  | Y | Y | 5 | 67 | NCC
622386 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1949009 | 2022-10-19 | 1268 | 1134 |  |  | Y | Y | 5.2 | 14.1
622387 | HY Riwaka Nth at Littles | Flowtracker | FT2H1949009 | 2022-10-19 | 1656 | 649 |  |  | Y | Y | 5.9 | 9.5
622388 | HY Riwaka at Hickmotts | Flowtracker | FT2H1949009 | 2022-10-19 | 1030 | 2393 |  |  | Y | Y | 5.7 | 1.3
622389 | HY Wakapuaka at Hira | Flowtracker | FT2H2117022 | 2022-10-20 | 4020 | 808 |  |  | Y | Y | 6.4 | 26.9 | NCC
622390 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1752001 | 2022-10-21 | 1662 | 1311 |  |  | Y | Y | 6.1 | -14.6
622391 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-10-21 | 1628 | 6222 | 6370 |  | Y | Y | 6.4 | 26.2 |  | QREV used to calculate final flow
622392 | HY Tadmor at Mudstone | Flowtracker | FT2H1752001 | 2022-10-26 | 1030 | 671 |  |  | Y | Y | 6 | -7.6
622393 | HY Motueka at Woodstock | M9 | M9 6307 | 2022-10-26 | 309 | 21182 | 21261 |  | Y | Y | 4.9 | -6.2 |  | QREV used to calculate final flow
622394 | HY Lee at u-s Anslow Ck | M9 | M9 6307 | 2022-10-27 | 7282 | 864 | 891 |  | Y | Y | 6.6 | -56.9 |  | QREV used to calculate final flow
622395 | HY Orphanage at Ngawhatu | Flowtracker | FT2H1902009 | 2022-10-27 | 1464 | 24.9 |  |  | Y | Y | 6.1 | 0 | NCC
622396 | HY Roding at Skid Site | Flowtracker | FT2H1902009 | 2022-10-31 | 1398 | 1580 |  |  | Y | Y | 5.8 | 20.7 | NCC
622397 | HY Roding at Caretakers | Flowtracker | FT2H1902009 | 2022-10-31 | 578 | 1506 |  |  | Y | Y | 5.2 | 1.2 | NCC
622398 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-11-01 | 475 | 2823 | 2857 | Y | Y | Y | 5.5 | -14.7 |  | QREV used to calculate final flow
622399 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-11-01 | 1385 | 12551 | 12784 | Y | Y | Y | 5.8 | -7 |  | QREV used to calculate final flow
622400 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-11-01 | 1176 | 32576 | 32343 |  | Y | Y | 4.1 | -0.2 |  | QREV used to calculate final flow
622401 | HY Lee at Meads Br | Flowtracker | FT2H1752001 | 2022-11-08 | 2572 | 2130 |  | Y | Y | Y | 5.9 | 19.3
622402 | HY Roding at Peninsula | Flowtracker | FT2H1752001 | 2022-11-08 | 813 | 1553 |  | Y | Y | Y | 6.1 | 6.2
622403 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1752001 | 2022-11-08 | 1411 | 3562 |  | Y | Y | Y | 5.6 | -7.6
622404 | HY Matakitaki at Horse Tce Br | M9 |  | 2022-10-12
622405 | HY Roding at Skid Site | Flowtracker | FT2H1949009 | 2022-11-10 | 1295 | 604 |  |  | Y | Y | 5.3 | 26.1
622406 | HY Orphanage at Ngawhatu | Flowtracker | FT2H194009 | 2022-11-10 | 1454 | 12.6 |  |  | Y | Y | 9.4 | 37
622408 | HY Wakapuaka at Hira | Other |  | 2022-10-26 | [8 empty] | NCC | RS5 gauging
622409 | HY Wakapuaka at Hira | Other |  | 2022-10-26 | [8 empty] | NCC
622410 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-11-09 | 287 | 12146 |  |  | Y | Y | 6.2 | 11.5 |  | SxS
622411 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-11-09 | 549 | 6581 | 6463 |  | Y | Y | 6 | 0.4 |  | QREV used to calculate final flow
622412 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-11-09 | 1530 | 12287 | 12410 |  | Y | Y | 4.9 | 13.4 |  | QREV used to calculate final flow
622413 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1752001 | 2022-11-09 | 509 | 4151 |  |  | Y | Y | 5.8 | 7.9
622414 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-11-10 | 1325 | 26663 |  |  | Y | Y | 5.1 | -16 |  | SxS
622415 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-11-10 | 1325 | 30625 |  |  | Y | Y | 7.1 | -26.9 |  | SxS
622416 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-11-10 | 4001 | 923 |  |  | Y | Y | 6.4 | -29.4 | NCC
622417 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H9149009 | 2022-11-16 | 1263 | 1108 |  | Y | Y | Y | 5.6 | 13.5
622418 | HY Riwaka Nth at Littles | Flowtracker | FT2H9149009 | 2022-11-16 | 1656 | 639 |  | Y | Y | Y | 6.8 | 11.2
622419 | HY Maitai at Avon Tce | Flowtracker | FT2H2117022 | 2022-11-16 | 1157 | 970 |  |  | Y | Y | 5.3 | 1.4 | NCC
622420 | HY Riwaka at Hickmotts | Flowtracker | FT2H9149009 | 2022-11-16 | 1018 | 2151 |  | Y | Y | Y | 6.3 | 5.9
622421 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-11-16 | 268 | 28419 | 28215 |  | Y | Y | 5 | -24.5 |  | QREV used to calculate final flow
622422 | HY Wakapuaka at Hira | Flowtracker | FT2H2117022 | 2022-11-17 | 3967 | 734 |  | Y | Y | Y | 5.7 | -26.9 | NCC
622423 | HY Waimea at TDC Nursery | M9 | M91664 | 2022-11-17 | 1580 | 4602 | 4479 |  | Y | Y | 6.1 |  |  | QREV used to calculate final flow
622424 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1752001 | 2022-11-17 | 1570 | 495 |  |  | Y | Y | 5.1 | -8.7 | -36.9
622425 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-11-17 | 282 | 223 |  |  | Y | Y | 6.5 | -26.3
622426 | HY Takaka at Harwoods | M9 | M9 6307 | 2022-11-17 | 852 | 7553 | 7590 | Y | Y | Y | 5.6 | 1.8 |  | QREV used to calculate final flow
622427 | HY Waingaro at Hanging Rock | M9 | M9 6307 | 2022-11-17 | 368 | 6958 | 7063 | Y | Y | Y | 7.1 | -4.1 |  | QREV used to calculate final flow
622428 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1949009 | 2022-11-22 | 173 | 720 |  | Y | Y | Y | 5.8 | 12.8
622429 | HY Maitai at Forks | Flowtracker | FT2H1949009 | 2022-11-23 | 723 | 1723 |  | Y | Y | Y | 5.9 | -12.7
622430 | HY Maitai Sth at Old Intake | Flowtracker | FT2H1949009 | 2022-11-23 | 1236 | 1039 |  | Y | Y | Y | 5.3 | -10.1
622431 | HY Wakapuaka at Hira | Flowtracker | FT2H1949009 | 2022-11-23 | 4085 | 1910 |  | Y | Y | Y | 6.4 | -1.3
622432 | HY Brook at Seymour Ave | Flowtracker | FT2H1949009 | 2022-11-24 | 219 | 301 |  | Y | Y | Y | 6.3 | -0.3
622433 | HY Lee at u-s Anslow Ck | M9 | M9 6307 | 2022-11-24 | 7457 | 3622 | 3722 |  | Y | Y | 5.3 | -40.3 |  | QREV used to calculate final flow
622434 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-11-29 | 1715 | 3119 |  | Y | Y | Y | 6.1 | 18.6
622435 | HY Wai-iti at Livingston Rd | Flowtracker | FT2H1918008 | 2022-11-29 | 1781 | 2583 |  | Y | Y | Y | 5 | 5.7
622436 | HY Wangapeka at Walters Peak | M9 | M9 6307 | 2022-12-06 | 1412 | 12933 | 12879 | Y | Y | Y | 3.6 | 1.6 |  | QREV used to calculate final flow
622437 | HY Tadmor at Mudstone | Flowtracker | FT2H1918008 | 2022-12-06 | 1084 | 1076 |  | Y | Y | Y | 5.8 | 0.4
622438 | HY Motupiko at Christies | Flowtracker | FT2H1949009 | 2022-12-07 | 1566 | 1151 |  | Y | Y | Y | 6.7 | -8.1
622439 | HY Motueka at Gorge | Flowtracker | FT2H1949009 | 2022-12-07 | 695 | 3054 |  | Y | Y | Y | 6.3 | 12.6
622440 | HY Waimea at TDC Nursery | M9 | M9 6307 | 2022-12-08 | 1579 | 5730 | 5809 | Y | Y | Y | 4.1 | -23 |  | QREV used to calculate final flow
622441 | HY Roding at Peninsula | Flowtracker | FT2H1918008 | 2022-12-08 | 728 | 1046 |  |  | Y | Y | 5.9 | 0.3
622442 | HY Lee at Meads Br | Flowtracker | FT2H1918008 | 2022-12-08 | 2510 | 1505 |  |  | Y | Y | 5.7 | 5.7
622443 | HY Wairoa at Irvines Bridge | Flowtracker | FT2H1918008 | 2022-12-08 | 1343 | 2936 |  |  | Y | Y | 5.8 | 8.1
622444 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-12-08 | 3962 | 801 |  |  | Y | Y | 6.6 | -19.1
622445 | HY Matakitaki at Horse Tce Br | M9 | M9 6307 | 2022-12-14 | 173 | 22190 | 21394 |  | Y | Y | 6.7 | -32.3 |  | QREV used to calculate final flow
622446 | HY Lee at u-s Anslow Ck | M9 | M9 1664 | 2022-12-15 | 7290 | 1677 | 1677 |  | Y | Y | 5.7 | 9.2 |  | QREV used to calculate final flow
622447 | HY Anatoki at Happy Sams | M9 | M9 6307 | 2022-12-14 | 469 | 4743 | 4664 |  | Y | Y | 8.5 | 4.1 |  | QREV used to calculate final flow
622448 | HY Takaka at Kotinga | M9 | M9 6307 | 2022-12-14 | 1428 | 8355 | 8483 |  | Y | Y | 5.5 | 18.4 |  | QREV used to calculate final flow
622449 | HY Waikoropupu at Springs River | M9 | M9 6307 | 2022-12-14 | 272 | 11033 |  | Y | Y | Y | 6.3 | 1.9 |  | SxS
622450 | HY Fish Creek at Waikoropupu | Flowtracker | FT2H1949009 | 2022-12-14 | 462 | 3333 |  | Y | Y | Y | 5.8 | 11.8
622451 | HY Aorere at Devils Boots | M9 | M9 6307 | 2022-12-15 | 1594 | 56724 | 57289 | Y | Y | Y | 7.5 | -14.3 |  | QREV used to calculate final flow
622452 | HY Waimea at TDC Nursery | M9 | M9 1664 | 2022-12-16 | 1603 | 8888 | 8599 | Y | Y | Y | 6.7 | 38.4 |  | QREV used to calculate final flow
622453 | HY Maitai at Avon Tce | Flowtracker | FT2H1902009 | 2022-12-15 | 1189 | 1170 |  | Y | Y | Y | 5.7 | 16.6 | NCC
622454 | HY Brook at Seymour Ave | Flowtracker | FT2H1902009 | 2022-12-15 | 195 | 200 |  | Y | Y | Y | 5.7 | 7 | NCC
622455 | HY Matakitaki at Horse Tce Br | M9 | M9 1664 | 2022-12-14 | 173 | 22023 | 21892 | Y | Y | Y | 6.2 | -32.3 |  | QREV used to calculate final flow
622456 | HY Motupiko at Christies | Flowtracker | FT2H1752001 | 2022-12-20 | 1675 | 2602 |  | Y | Y | Y | 6.1 | -4.6
622457 | HY Baton at Baton Flats | M9 | M9 6307 | 2022-12-20 | 552 | 4955 | 4953 | Y | Y | Y | 6.4 | -13.6 |  | QREV used to calculate final flow
622458 | HY Motueka at Woodmans Bend | M9 | M9 6307 | 2022-12-21 | 1596 | [8 empty] | QREV used to calculate final flow
622459 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-12-19 | 3926 | 656 |  |  | Y | Y | 6.4 | -41.4 | NCC
622460 | HY Roding at Caretakers | Flowtracker | FT2H1902009 | 2022-12-21 | 516 | 843 |  |  | Y | Y | 6 | -5.1 | NCC
622461 | HY Roding at Skid Site | Flowtracker | FT2H1902009 | 2022-12-21 | 1314 | 784 |  |  | Y | Y | 6.4 | -1.8 | NCC
622462 | HY Riwaka Sth at Moss Bush | Flowtracker | FT2H1752001 | 2022-12-21 | 1294 | 1244 |  | Y | Y | Y | 5.2 | 10.7
622463 | HY Riwaka Nth at Littles | Flowtracker | FT2H1752001 | 2022-12-21 | 1707 | 1049 |  | Y | Y | Y | 6 | -8.1
622464 | HY Riwaka at Hickmotts | Flowtracker | FT2H1752001 | 2022-12-21 | 1081 | 2967 |  | Y | Y | Y | 6.2 | 2.5
622465 | HY Wai-iti at Belgrove | Flowtracker | FT2H1752001 | 2022-12-22 | 410 | 523 |  | Y | Y | Y | 6.1 | 5.1
622466 | HY Motupipi at Reillys Bridge | Flowtracker | FT2H1752001 | 2022-12-14 | 128 | 325 |  |  | Y | Y | 6.8 | 6
622467 | HY Wakapuaka at Hira | Flowtracker | FT2H1902009 | 2022-12-30 | 3901 | 491 |  |  | Y | Y | 6.3 | -2 | NCC
622468
622469
622470
622471

## Misc Sites
Gauging # | Site | Date/Time | Flow (l/s) | Hilltop | Uncertainty (%) | M:\ | Purpose (SOE, Low Flow) | Initals (who did gauging) | Card Scanned? (both sides if prop) | Easting NZTM | Northing NZTM | Derivation of co-ordinates | Method | Comments
M22001 | Niemann at 600m u-s Lansdowne Rd | 2022-01-05 |  |  |  | Y | SOE | TD/CA |  |  |  |  | FT2H1918008
M22002 | Borck at 400m d-s Queen st | 2022-01-05 | 87 | Y | 11.8 | Y | SOE | TD/CA | Y |  |  |  | FT2H1918008
M22003 | Reservoir at Salisbury Rd | 2022-01-05 |  |  |  | Y | SOE | TD/CA |  |  |  |  | FT2H1918008
M22004 | Sherry at Blue Rock | 2022-01-11 | 141 | Y | 11.4 | Y | SOE | MW | Y |  |  |  | Seba 1606
M22005 | Motueka at 1400m u-s Tapawera Bridge | 2022-01-13 | 3090 | Y | 6 | Y | Low flow | HR | y | 1584982 | 5417135 | GPS | FT2H1949009
M22006 | Motueka at Hyatts | 2022-01-13 | 2945 | Y | 6.2 | Y | Low flow | HR | y | 1585664 | 5415849 | GPS | FT2H1949009
M22007 | Motueka at Old School Rd | 2022-01-13 | 2866 | Y | 6.2 | Y | Low flow | HR | y | 1586276 | 5414587 | GPS | FT2H1949009
M22008 | Motueka at 350m u-s of Motupiko | 2022-01-13 | 2095 | Y | 5.9 | Y | Low flow | HR | y | 1586126 | 5411029 | GPS | FT2H1949009
M22009 | Motueka at Norths Bridge | 2022-01-13 | 2360 | y | 6.2 | y | Low flow | HR | y | 1586624 | 5408533 | GPS | FT2H1949009
M22010 | Motupiko at Atapo Forks | 2022-01-13 | 478 | y | 6.3 | y | Low flow | EH | y | 1582885 | 5393082 | GPS | FT2H1918008
M22011 | Rainy at u-s Ted Confl | 2022-01-13 | 210 | Y | 6.9 | y | Low flow | EH | y | 1582735 | 5392902 | GPS | FT2H1918008
M22012 | Motupiko at Korere Bridge | 2022-01-13 | 777 | Y | 6.6 | y | Low flow | EH | y | 1583163 | 5401335 | GPS | FT2H1918008
M22013 | Motupiko at Harrisons | 2022-01-13 | 673 | Y | 6 | y | Low flow | EH | y | 1583512 | 5406818 | GPS | FT2H1918008
M22014 | Motupiko at Frys | 2022-01-13 | 776 | Y | 5.2 | y | Low flow | EH | y | 1584519 | 5409909 | GPS | FT2H1918008
M22015 | Motupiko at 250m u-s Motueka Rv | 2022-01-13 | 526 | Y | 6.8 | y | Low flow | EH | y | 1585980 | 5411224 | GPS | FT2H1918008
M22016 | Motueka at 600m u-s Wangapeka Confl | 2022-01-14 | 4158 | Y | 5.8 | y | Low flow | TD MW | Y | 1582298 | 5424599 | GPS | FT2H1949009
M22017 | Motueka at Glenrae | 2022-01-14 | 3384 | y | 6.3 | y | Low flow | TD MW | Y | 1582755 | 5422503 | GPS | FT2H1949009
M22018 | Motueka at 800m d-s Tadmor Confl | 2022-01-14 | 3186 | y | 6.1 | y | Low flow | TD MW | Y | 1583383 | 5421192 | GPS | FT2H1949009
M22019 | Motueka at Tapawera Bridge | 2022-01-14 | 3093 | y | 6 | y | Low flow | TD MW | Y | 1584583 | 5410119 | GPS | FT2H1949009
M22020 | Anslow at Culvert | 2022-01-19 | 27 | Y | 15.5 | Y | Low flow | MCD |  |  |  |  | FT2H1949009
M22021 | Little Granity at Horopito | 2022-01-20 | 35 | Y | 10 | Y | Low flow | MW | Y | 1564615 | 5492724 | GPS | FT2H1949009
M22022 | Curnow at Hickmott Road | 2022-01-20 | 1 | Y | 16.7 | Y | Low flow | MW | Y | 1566110 | 5492536 | GPS | FT2H1949009
M22023 | Victoria at 250m u-s Kaituna | 2022-01-20 | 28 | y | 6.1 | Y | Low flow | EH | Y | 1564401 | 5492238 | GPS | FT2H1752001
M22024 | King at Coll-Bain Rd | 2022-01-20 | 3 | Y |  | Y | Low flow | MW | Y |  |  |  | Visual Estimate
M22025 | Scott at Coll-Bain Rd | 2022-01-20 | 1 | Y |  | Y | Low flow | MW | Y |  |  |  | Visual Estimate
M22026 | Kaituna at d-s Little Granity | 2022-01-20 | 458 | y | 6.1 | Y | Low flow | EH | Y | 1564531 | 5492475 | GPS | FT2H1752001
M22027 | Bonny Doon at Confluence | 2022-01-20 | 219 | Y | 7.7 | Y | Low flow | MW | Y | 1564728 | 5491602 | GPS | FT2H1949009
M22028 | Otimataura at 300m u-s Farm Br | 2022-01-20 | 11 | y | 6.2 | Y | Low flow | EH | Y | 1566788 | 5495788 | GPS | FT2H1752001
M22029 | Kaituna at Sollys Road | 2022-01-20 | 741 | y | 6.4 | Y | Low flow | MW | Y | 1567385 | 5492730 | GPS | FT2H1949009
M22030 | Granity at 200m u-s Top Farm Br | 2022-01-20 | 29 | y | 7.4 | Y | Low flow | EH | Y | 1566881 | 5495077 | GPS | FT2H1752001
M22031 | Kaituna at Red Shed | 2022-01-20 | 669 | y | 6.5 | Y | Low flow | MW | Y | 1567723 | 5493239 | GPS | FT2H1949009
M22032 | Kaithua at 200m ds Carters Rd Br | 2022-01-21 | 603 | Y | 7.2 | Y | Low flow | MW | Y | 1566221 | 5492282 | GPS | FT2H1949009
M22033 | Curnow Spring at u-s Curnow Ck | 2022-01-21 | 16 | y | 7.3 | Y | Low flow | EH | Y | 1566290 | 5492489 | GPS | FT2H1752001
M22034 | Unnamed Ck 1 at u-s Granity Confl | 2022-01-21 | 1 | y |  | Y | Low flow | MW | Y |  |  |  | Visual Esitmate
M22035 | Kaituna at Above Aorere Confluence | 2022-01-21 | 610 | y | 6.9 | Y | Low flow | EH | Y | 1567536 | 5493966 | GPS | FT2H1752001
M22036 | Motupiko at Atapo Forks | 2022-01-25 | 326 | y | 5.9 | Y | Low flow | EH | Y | 1582860 | 5393016 | GPS | FT2H1918008
M22037 | Rainy at u-s Ted Confl | 2022-01-25 | 156 | Y | 6.2 | Y | Low flow | EH | Y | 1582731 | 5392978 | GPS | FT2H1918008
M22038 | Motupiko at Korere Bridge | 2022-01-25 | 559 | Y | 5.7 | Y | Low flow | EH | Y | 1583159 | 5401334 | GPS | FT2H1918008
M22039 | Motupiko at Harrisons | 2022-01-25 | 440 | Y | 6 | Y | Low flow | EH | Y | 1583514 | 5406818 | GPS | FT2H1918008
M22040 | Motupiko at Frys | 2022-01-25 | 457 | Y | 6.2 | Y | Low flow | EH | Y | 1584515 | 5409912 | GPS | FT2H1918008
M22041 | Motupiko at 250m u-s Motueka Rv | 2022-01-25 | 257 | Y | 6.1 | Y | Low flow | EH | Y | 1585988 | 5411224 | GPS | FT2H1918008
M22042 | Motueka at 600m u-s Wangapeka Confl | 2022-01-25 | 2629 | Y | 5.9 | Y | Low flow | MW | Y | 1582302 | 5424597 | GPS | FT2H1949009
M22043 | Motueka at Glenrae | 2022-01-25 | 2074 | Y | 5.6 | Y | Low flow | MW | Y | 1582765 | 5422505 | GPS | FT2H1949009
M22044 | Motueka at 800m d-s Tadmor Confl | 2022-01-25 | 2291 | Y | 5.9 | Y | Low flow | MW | Y | 1583383 | 5421191 | GPS | FT2H1949009
M22045 | Motueka at Tapawera Bridge | 2022-01-25 | 2205 | Y | 5.5 | Y | Low flow | MW | Y | 1584588 | 5418121 | GPS | FT2H1949009
M22046 | Motueka at 1400m u-s Tapawera Bridge | 2022-01-25 | 2195 | Y | 5.5 | Y | Low flow | TD |  | 1584983 | 5417140 | GPS | FT2H1752001
M22047 | Motueka at Hyatts | 2022-01-25 | 2134 | Y | 5.9 | Y | Low flow | TD |  | 1585797 | 5415650 | GPS | FT2H1752001
M22048 | Motueka at Old School Rd | 2022-01-25 | 2077 | Y | 5.9 | Y | Low flow | TD |  | 1586279 | 5414581 | GPS | FT2H1752001
M22049 | Motueka at 350m u-s of Motupiko | 2022-01-25 | 1793 | Y | 6.2 | Y | Low flow | TD |  | 1585972 | 5410609 | GPS | FT2H1752001 | New location to previous gauging.
M22050 | Motueka at Norths Bridge | 2022-01-25 | 2127 | Y | 6.1 | Y | Low flow | TD |  | 1586621 | 5408539 | GPS | FT2H1752001
M22051 | Motueka at u-s Tadmor Confl | 2022-01-25 | 2194 | Y | 5.8 | Y | Low flow | MW | Y | 1584255 | 5419271 | GPS | FT2H1949009 | New location (Motueka at Vue Mount). Potential to replace the old Motueka at u-s Tadmor Confl site location. Processed in hilltop under Motueka at u-s Tadmor Confl
M22096 | Onekaka at Shambala | 2022-01-25 | 200 | Y |  |  | SOE | JM
M22052 | MDF Plant spring | 2022-01-27 | 45 | Y | 6.3 | Y | Low flow | EH | Y | 1613899 | 5425463 | GPS | FT2H1918008
M22053 | MDF Plant spring | 2022-02-09 | 50 | Y | 6.8 | Y | Low flow | EH |  | 1613857 | 5425476 | GPS | FT2H1752001
M22093 | Niemann at 600m u-s Lansdowne Rd | 2022-02-09 | 113 | Y | 12.8 |  | SOE | JM |  |  |  |  | Seba 1606
M22094 | Borck at 400m d-s Queen st | 2022-02-09 | 76 | Y | 12.4 |  | SOE | JM |  |  |  |  | Seba 1606
M22095 | Reservoir at Salisbury Rd | 2022-02-09 | 38 | Y | 18.2 |  | SOE | JM |  |  |  |  | Seba 1606
M22054 | Sherry at Blue Rock | 2022-02-15 | 1998 | Y | 8.3 | Y | SOE | MW CA | Y |  |  |  | Seba 1363
M22055 | Sherry at Blue Rock | 2022-03-15 | 318 | Y | 10 | Y | SOE | CA | Y |  |  |  | FT2H1918008
M22056 | Marahau at 250m u-s Sandy Bay Rd | 2022-03-15 | 664 | Y | 5.7 | Y | SOE | SB HR | Y |  |  |  | FT2H1949009
M22057 | Moutere at Riverside | 2022-03-16 | 189 | Y | 10 | Y | SOE | HR | Y |  |  |  | FT2H1949009
M22058 | Tasman Vly Stm at u-s Jester House | 2022-03-16 | 9 | Y | 10.2 | Y | SOE | HR | Y |  |  |  | FT2H1949009
M22059 | Motueka at 1400m u-s Tapawera Bridge | 2022-03-18 | 2814 | Y | 5.7 | Y | Low flow | HR | Y | 1584983 | 5417134 | GPS | FT2H1752001
M22060 | Motueka at Hyatts | 2022-03-18 | 2800 | Y | 6.3 | Y | Low flow | HR | Y | 1585663 | 5415841 | GPS | FT2H1752001
M22061 | Motueka at Old School Rd | 2022-03-18 | 2498 | Y | 6 | Y | Low flow | HR | Y | 1586278 | 5414583 | GPS | FT2H1752001
M22062 | Motueka at 350m u-s of Motupiko | 2022-03-18 | 2054 | Y | 6.2 | Y | Low flow | HR | Y | 1585980 | 5410626 | GPS | FT2H1752001
M22063 | Motueka at Norths Bridge | 2022-03-18 | 1858 | Y | 6.1 | Y | Low flow | HR | Y | 1586621 | 540838 | GPS | FT2H1752001
M22064 | Motueka at 600m u-s Wangapeka Confl | 2022-03-18 | 3665 | Y | 5.5 | Y | Low flow | MW | Y | 1582300 | 5424594 | GPS | Seba 1363
M22065 | Motueka at Glenrae | 2022-03-18 | 2838 | Y | 5.4 | Y | Low flow | MW | Y | 1582735 | 5422502 | GPS | Seba 1363 | Connection between counter and prop faulty (missing counts). Did a temp fix in field during gauging. Unknown if the temp fix was suscessful.
M22066 | Motueka at 800m d-s Tadmor Confl | 2022-03-18 | 3097 | Y | 5.3 | Y | Low flow | MW | Y | 1583383 | 5421191 | GPS | Seba 1363
M22067 | Motueka at Tapawera Bridge | 2022-03-18 | 2972 | Y | 5.8 | Y | Low flow | MW | Y | 1584579 | 5418112 | GPS | Seba 1363
M22068 | Motueka at u-s Tadmor Confl | 2022-03-18 | 2794 | Y | 5.4 | Y | Low flow | MW | Y | 1584250 | 5419268 | GPS | Seba 1363 | New location (Motueka at Vue Mount). Potential to replace the old Motueka at u-s Tadmor Confl site location. Processed in hilltop under Motueka at u-s Tadmor Confl
M22069 | Motupiko at 250m u-s Motueka Rv | 2022-03-18 | 499 | Y | 7.6 | Y | Low flow | MW | Y | 1585956 | 5411205 | GPS | Seba 1363
M22097 | Onekaka at Shambala | 2022-03-29 | 326 | Y | 10.6 | Y | SOE | CJW |  |  |  |  | Pygmy P063
M22075 | Orinoco at Ngatimoti | 2022-03-31 | 126 | Y | 7.7 |  | Low flow | RP | Y | 1590632 | 5438910 | GPS | Seba 1785
M22076 | Little Pokororo at SH65 Br | 2022-03-31 | 136 | Y | 8.1 |  | Low flow | RP | Y | 1588656 | 5439256 | GPS | Seba 1785
M22077 | Baton at u-s Motueka Confl | 2022-03-31 | 3249 | Y | 7.5 |  | Low flow | RP | Y | 1583501 | 5430568 | GPS | Seba 1785
M22073 | Herring at Bridge | 2022-04-01 | 109 | Y | 8.2 |  | Low flow | RP | Y | 1591489 | 5442093 | GPS | Seba 1785
M22074 | Rocky at 150m u-s Br | 2022-04-01 | 171 | Y | 8.3 |  | Low flow | RP | Y | 1593047 | 5444319 | GPS | Seba 1785
M22070 | Borck at 400m d-s Queen st | 2022-04-06 | 58 | Y | 8.9 | Y | SOE | CS | Y |  |  |  | FT2H1949009
M22071 | Reservoir at Salisbury Rd | 2022-04-06 | 11 | Y | 11.7 | Y | SOE | CS | Y |  |  |  | FT2H1949009
M22072 | Niemann at 600m u-s Lansdowne Rd | 2022-04-06 | 28 | Y | 7.8 | Y | SOE | CA | Y |  |  |  | FT2H1918008
M22078 | Sherry at Blue Rock | 2022-04-12 | 215 | Y | 9.9 | Y | SOE | TD |  |  |  |  | FT2H1918008
M22079 | Tasman Vly Stm at u-s Jester House | 2022-04-12 | 8 | Y | 5.5 | Y | SOE | RP | Y |  |  |  | FT2H1949009
M22080 | Moutere at Riverside | 2022-04-12 | 133 | Y | 6.8 | Y | SOE | RP | Y | 1599420 | 5443114 | GPS | FT2H1949009
M22081 | Marahau at 250m u-s Sandy Bay Rd | 2022-04-12 | 512 | Y | 5.9 | Y | SOE | RP | Y | 1600195 | 5461596 | GPS | FT2H1949009
M22082 | Borck at 400m d-s Queen st | 2022-05-04 | 33 | Y | 9.5 | Y | SOE | CA |  |  |  |  | FT2H1918008
M22083 | Reservoir at Salisbury Rd | 2022-05-04 | 10 | Y | 9.4 | Y | SOE | CA |  |  |  |  | FT2H1918008
M22084 | Niemann at 600m u-s Lansdowne Rd | 2022-05-04 | 28 | Y | 7.8 | Y | SOE | CA |  |  |  |  | FT2H1918008
M22085 | Tasman Vly Stm at u-s Jester House | 2022-05-10 | 12 | Y | 5.9 | Y | SOE | RP | Y |  |  |  | FT2H1752001
M22086 | Moutere at Riverside | 2022-05-10 | 164 | Y | 5.9 | Y | SOE | RP | Y |  |  |  | FT2H1752001
M22087 | Marahau at 250m u-s Sandy Bay Rd | 2022-05-10 | 625 | Y | 7.3 | Y | SOE | RP | Y |  |  |  | FT2H1752001
M22098 | Onekaka at Shambala | 2022-05-16 | 984 | Y | 9.6 | Y | SOE | CJW |  |  |  |  | Pygmy P063
M22088 | Page GB Wetland Top Inflow | 2022-06-02
M22089 | Borck at 400m d-s Queen st | 2022-06-08 | 460 | Y | 10 | Y | SOE | TD |  |  |  |  | FT2H1752001
M22090 | Reservoir at Salisbury Rd | 2022-06-08 | 190 | Y | 11.7 | Y | SOE | TD |  |  |  |  | FT2H1752001
M22091 | Niemann at 600m u-s Lansdowne Rd | 2022-06-08 | 101 | Y | 8.8 | Y | SOE | TD |  |  |  |  | FT2H1752001
M22092 | Tasman Vly Stm at u-s Jester House | 2022-06-14 | 333 | Y | 6.2 | y | SOE | SB | Y |  |  |  | FT2H1949009
M22099 | Onekaka at Shambala | 2022-06-20 | 709 | Y | 10.3 |  | SOE | CJW
M22100 | Niemann at 600m u-s Lansdowne Rd | 2022-07-06 | 70 | Y |  |  | SOE
M22101 | Borck at 400m d-s Queen st | 2022-07-06 | 170 | Y |  |  | SOE
M22102 | Reservoir at Salisbury Rd | 2022-07-06 | 26 | Y | 13.1 | Y | SOE | CA |  |  |  |  | FT2H1949009
M22107 | Page GB Wetland Bottom Outflow | 2022-07-07 | [10 empty] | Volumetric
M22103 | Tasman Vly Stm at u-s Jester House | 2022-07-13 | 7 | Y | 30 | Y | SOE | CA
M22104 | Moutere at Riverside | 2022-07-13 | 54000 | Y | 30 | Y | SOE | CA
M22105 | Sherry at Blue Rock | 2022-07-13 | 20160 | Y | 30 | Y | SOE | SB
M22106 | Hunters at Kikiwa | 2022-07-13 | 1510 | Y | 30 | Y | SOE | SB
M22108 | Niemann at 600m u-s Lansdowne Rd | 2022-08-03 | 130 | Y | 6.4 | Y | SOE | CA | Y |  |  |  | FT2H1949009
M22109 | Borck at 400m d-s Queen st | 2022-08-03 | 993 | Y | 10 | Y | SOE | CA | Y |  |  |  | FT2H1949009
M22110 | Reservoir at Salisbury Rd | 2022-08-03 | 124 | Y | 9.3 | Y | SOE | CA | Y |  |  |  | FT2H1949009
M22111 | Sherry at Blue Rock | 2022-08-16 | 1524 | Y | 9.9 | Y | SOE | TD TW
M22112 | Tasman Vly Stm at u-s Jester House | 2022-08-16 | 141 | Y | 7.6 | Y | SOE | CA |  |  |  |  | FT2H1752001
M22113 | Marahau at 250m u-s Sandy Bay Rd | 2022-08-16 | 2195 | Y | 5.9 | Y | SOE | CA |  |  |  |  | FT2H1752001
M22114 | Moutere at Riverside | 2022-08-16 | 1821 | Y | 9.3 | Y | SOE | CA |  |  |  |  | FT2H1752001
M22115 | Borck at Lower Queen Street | 2022-08-20 | [10 empty] | Martin's phone - STIV | Gauging not a goer
M22116 | Niemann Ck at 600m u-s Landsdowne Rd | 2022-09-07 | 82 | Y | 6.9 | Y | SOE | TW | Y |  |  |  | FT2H1752001
M22117 | Borck Ck at 400m d-s Lower Queen St | 2022-09-07 | 167 | Y | 10 | Y | SOE | TW | Y |  |  |  | FT2H1752001
M22118 | Reservoir Ck at Salisbury Rd | 2022-09-07 | 27 | Y | 10.2 | Y | SOE | TW | Y |  |  |  | FT2H1752001
M22119 | Onekaka at Shambala | 2022-07-18 | 478 | Y | 10.5 |  | SOE | CJW
M22120 | Tasman Vly Stm at u-s Jester House | 2022-09-13 | 7.9 | Y | 8.2 | Y | SOE | TW | Y |  |  |  | FT2H1918008
M22121 | Moutere at Riverside | 2022-09-13 | 85.2 | Y | 8.7 | Y | SOE | TW | Y |  |  |  | FT2H1918008
M22122 | Marahau at 250m u-s Sandy Bay Rd | 2022-09-13 | 166.4 | Y | 5.9 | Y | SOE | TW | Y |  |  |  | FT2H1918008
M22123 | Sherry at Blue Rock | 2022-09-13 | 974 | Y | 11.7 | Y | SOE | TD |  |  |  |  | FT2H1949009
M22124 | Onekaka at Shambala | 2022-09-27 | 653 | Y | 10.6 |  | SOE | CJW
M22125 | Sherry at Blue Rock | 2022-10-12 | 2160 | y | 9.4 | y | SOE | JST | Y |  |  |  | FT2H1918008
M22126 | Page GB Top Inflow | 2022-09-20 | 1.009 | N |  | Y |  | JST | Y |  |  |  | Volumetric
M22127 | Page GB Bottom Outflow | 2022-09-20 | 7.2 | N |  | Y |  | JST | Y |  |  |  | Volumetric
M22128 | Niemann Ck at 600m u-s Landsdowne Rd | 2022-10-13 | 76 | Y | 6.9 | Y | SOE | TW | Y |  |  |  | FT2H1752001
M22129 | Borck Ck at 400m d-s Lower Queen St | 2022-10-13 | 141 | Y | 10.2 | Y | SOE | TW | Y |  |  |  | FT2H1752001
M22130 | Reservoir Ck at Salisbury Rd | 2022-10-13 | 23 | Y | 10.1 | Y | SOE | TW | Y |  |  |  | FT2H1752001
M22131 | Tasman Vly Stm at u-s Jester House | 2022-10-12 | 49 | Y | 8.6 | Y | SOE | MO | Y |  |  |  | FT2H1752001
M22132 | Moutere at Riverside | 2022-10-12 | 894.1 | Y | 9.3 | Y | SOE | MO | Y |  |  |  | FT2H1752001
M22133 | Marahau at 250m u-s Sandy Bay Rd | 2022-10-12 | 1139 | Y | 6.5 | Y | SOE | MO | Y |  |  |  | FT2H1752001
M22134 | Brown River at Brown Hut Br | 2022-10-18 | 1389 | Y | 5.2 | Y | Investigation | CS | Y | 1553338 | 5477540 | GPS | FT2H1752001
M22135 | Eliot Creek at u-s Aorere Confl | 2022-10-18 | 373 | Y | 5.9 | Y | Investigation | CS | Y | 1555461 | 5479798 | GPS | FT2H1752001
M22136 | 15 Mile Creek | 2022-10-18 | 265 | Y | 6.6 | Y | Investigation | CS | Y | 1559822 | 5482433 | GPS | FT2H1752001
M22137 | Kaituna at u-s Track Start | 2022-10-18 | 519 | Y | 6.5 | Y | Investigation | CS | Y |  |  |  | FT2H1752001
M22138 | Neimann Ck at 600m us Lansdowne Rd | 2022-11-09 | 47 | Y | 6.8 | Y | SOE | SB |  |  |  |  | FT2H1918008
M22139 | Borck Ck at 400m d-s Lower Queen St | 2022-11-09 | 84 | Y | 9.2 | Y | SOE | SB |  |  |  |  | FT2H1918008
M22140 | Reservoir Ck at Salisbury Rd | 2022-11-09 | 15 | Y | 10.8 | Y | SOE | SB |  |  |  |  | FT2H1918008
M22141 | Moutere at Riverside | 2022-06-14 | 5200 | Y | 30 | Y | SOE | SB |  |  |  |  | Visual Estimate
M22142 | Sherry Rv at Blue Rock | 2022-11-15 | 1060 | Y | 9.8 | Y | SOE | HR | Y |  |  |  | FT2H1949009
M22143 | Tasman Vly Stm at u-s Jester House | 2022-11-15 | 25 | Y | 7.3 | Y | SOE | JH | Y |  |  |  | FT2H1752001
M22144 | Moutere at Riverside | 2022-11-15 | 252 | Y | 7 | Y | SOE | JH | Y |  |  |  | FT2H1752001
M22145 | Marahau at 250m u-s Sandy Bay Rd | 2022-11-15 | 993 | Y | 6.5 | Y | SOE | JH | Y |  |  |  | FT2H1752001
M22146 | Powell at 40m u/s Motupipi | 2022-11-22 | 255 | Y | 10.5 | Y | SOE | TW | Y |  |  |  | FT2H1949009
M22147 | Neimann Ck at Lower Queen Street | 2022-12-07 | 42 | Y | 10.3 | Y | SOE | JH | Y |  |  |  | FT2H1918008
M22148 | Borck Creek at 400m d-s of Queen St | 2022-12-07 | 65 | Y | 9.4 | Y | SOE | JH | Y |  |  |  | FT2H1918008
M22149 | Reservoir Creek at Salisbury Road | 2022-12-07 | 8 | Y | 11.8 | Y | SOE | JH | Y
M22150 | Moutere at Riverside | 2022-12-13 | 326 | Y | 10 | Y | SOE | TD | Y |  |  |  | FT2H1949009
M22151 | Tasman Vly Stm at u-s Jester House | 2022-12-13 | 20 | Y | 10.2 | Y | SOE | TD | Y |  |  |  | FT2H1949009
M22152 | Sherry Rv at Blue Rock | 2022-12-13 | 549 | Y | 6.1 | Y | SOE | JH | Y |  |  |  | FT2H1918008
M22153 | Marahau at 250m u-s Sandy Bay Rd | 2022-12-13 | 875 | Y | 5.9 | Y | SOE | JM
M22154 | Page GB Top Inflow | 2022-12-20 | 12 | N |  | N |  | JST |  |  |  |  | Volumetric | Gauging cards filed on sharepoint for NIWA ingest.
M22155
M22156
M22157
M22158
M22159
M22160
M22161

## LookUpLists
Column1
HY Anatoki at Happy Sams |  | SOE
HY Aorere at Devils Boots | Flowtracker | Low Flow
HY Baton at Baton Flats | Current Meter | Investigation
HY Brook at Seymour Ave | M9 | Consent Compliance
HY Buller at Longford | STIV
HY Collins at Drop Structure | River Surveyor
HY Fish Creek at Waikoropupu | Other
HY Lee at Waterfall Creek | Visual Estimate
HY Lee Dam Upstream | Volumetric
HY Lee at u-s Anslow Ck | StreamPro
HY Lee at Meads Br
HY Maitai at Avon Tce
HY Maitai at Forks
HY Maitai Nth at u-s Lake
HY Maitai Sth at Old Intake
HY Matakitaki at Horse Tce Br
HY Motueka at Gorge
HY Motueka at Woodmans Bend
HY Motueka at Woodstock
HY Motupiko at Christies
HY Motupipi at Reillys Bridge
HY Orphanage at Ngawhatu
HY Riwaka Sth at Moss Bush
HY Riwaka Nth at Littles
HY Riwaka at Hickmotts
HY Roding at Caretakers
HY Roding at Skid Site
HY Roding at Peninsula
HY Tadmor at Mudstone
HY Takaka at Harwoods
HY Takaka at Kotinga
HY Wai-iti at Belgrove
HY Wai-iti at Livingston Rd
HY Waikoropupu at Springs River
HY Waikoropupu at NZKSC Wasabe
HY Waimea at TDC Nursery
HY Waimea at Gravel Crusher
HY Waingaro at Hanging Rock
HY Wairoa at Gorge 2
HY Wairoa at Irvines
HY Wairoa at Irvines Bridge
HY Wakapuaka at Hira
HY Wangapeka at Walters Peak
Page GB Wetland Top Inflow
Page GB Wetland Side Inflow
Page GB Wetland Bottom Outflow